R. Pitt

February 8, 2022

White Paper Concerning Evaporation and Evapotranspiration Values to use in WinSLAMM

Contents

Sources of ET Data	1

Adjustments of ET Data for use in Urban Areas	3

Example ETo for Wisconsin	4

Evaporation Data and Use in WinSLAMM	7

Pan Evaporation Adjustments	12

Pan Evaporation Data Example	12

Appendix A: Maps Showing ETo Data Availability	A-1

Appendix B: Average Monthly ET Values	B-1

This white paper presents evaporation and evapotranspiration (ET) data for many US locations, from NOAA sources. These data are used in WinSLAMM to calculate water losses due to evaporation from standing water (such as from long-term evaporation at wet detention ponds or short-term evaporation from intermittent ponded water in biofilters). Evapotranspiration is also used to account for some water losses from biofilters due to plant respiration removing soil water from the root zone. Monthly values of evaporation and ET are entered on the forms where these are available as “outlets.” This white paper and attachments include pan evaporation and ETo (evapotranspiration potential) values from many locations throughout the US. The basic ETo values need to be adjusted according to the microenvironment. WinSLAMM further uses these values to calculate the ET losses according to the plants used in the biofilter. The pan evaporation values need to be adjusted according to the type of water body. This white paper also discusses these adjustments. It is anticipated that standard sets of evaporation and ET can eventually be entered on the WinSLAMM tools menu alongside the monthly water temperature values so these would not need to be entered directly on the control forms.

# Sources of ET Data

The following discussions and data for ET are summarized from the following report: Pitt, R., L. Talebi. R. Bean, and S. Clark, Stormwater Non-Potable Beneficial Uses and Effects on Urban Infrastructure, Water Environment Research Foundation, Report No. INFR3SG09, Alexandria, VA, November 2011, 224 pgs. The data included in this white paper should be sufficient for use in calculating ET water losses from biofilters/bioretention stormwater controls. The WERF report noted above should be consulted for additional background and alternative ET data sources.

Most of the ET values included here were obtained from historic records collected by the Remote Automated Weather Stations (RAWS). The available climate data (including daily ETo values) cover all 50 states, and covers a large portion of the geographic area of the U.S. The archive currently houses historic data for more than 2,200 RAWS units across the U.S. Appendix A includes many maps of state groupings showing the RAWS monitoring locations. Appendix B lists the monthly ET values for these locations.

There are also several state and regional systems that provide additional ET rates. One extensive state-wide example is the California Irrigation Management Information System (CIMIS). The data stations are not limited to traditional agricultural areas, also including some locations in urban zones. The following CIMIS map shows the 18 regions covering the entire state of California. Appendix B also includes monthly average ET rates for many locations in these 18 regions.

Figure 1. CIMIS Average ETo by Zone for California. http://wwwcimis.water.ca.gov/cimis/cimiSatEtoZones.jsp

## Adjustments of ET Data for use in Urban Areas

Most of the ET monitoring is in agricultural and wild land environments. Evapotranspiration potential, ETo, is for a standard condition that reflects normalized agricultural conditions. The ETo value is therefore adjusted according to the soils, plants, and growing season conditions. Most of these adjustment factors were developed for agricultural situations and their use in highly disturbed urban environments has not been well-documented. Most of the available ETo values are also not located in urban areas. The RAWS data can be adjusted to account for the microclimate found in urban areas, based on methods from the California Department of Water Resources (A Guide to Estimating Irrigation Needs of Landscape Plantings in California: The Landscape Coefficient Method). The following table illustrate this method.

Landscape Coefficients Method:

KL=kS *kd*kmc

ks=Landscape Coefficient

kd=Plant Species Factor

kmc=Microcimate Factor

Table 1.  Landscape Coefficient Methods Assessment Standards. (Costello et al., 2000)

| Estimated Values of Landscape Coefficient Factors |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Very Low | Low | Moderate | High |
| Species Factor | <0.1 | 0.1 to 0.3 | 0.4 to 0.6 | 0.7 to 0.9 |
| Density Factor | - | 0.5 to 0.9 | 1 | 1.1 to 1.3 |
| Microclimate Factor | - | 0.5 to 0.9 | 1 | 1.1 to 1.4 |

Table 2. Example Landscape Coefficient Estimate for Oakmulgee, AL, RAWS Data.

| k values | Observed Site Conditions | Assessed Category | Estimated Coefficient |
| --- | --- | --- | --- |
| Species Factor | cool season grasses | High | .9*/.95 |
| Density Factor | Low density groundcover | Low | 0.75 |
| Microclimate | Shaded with wind protection | Low | 0.65 |
|  | KL=kS *kd*kmc |  | .43*/.46 |
| *Slight reduction in species factor to account for early spring growing season |  |  |  |

WinSLAMM provides adjustments to ETo based on the plant species and planting density. Therefore, only the microclimate factor should be used to adjust the RAWS data for use in WinSLAMM. As noted above, the low factor is associated with a well-protected area that is shaded. The moderate factor would be for an unshaded open area, while the high factor would be for an exposed setting subject to wind and full sun (such as on a green roof). For most biofilter locations, a low to moderate microclimate factor would be appropriate.

## Example ETo for Wisconsin

The following map is a copy of one of the maps from Appendix A showing the three ETo data locations for Wisconsin (and some surrounding areas). As expected, most of the data are available for the agricultural areas in the southern part of the state. Two additional locations near the western boundary are also available in Minnesota that may be applicable for other state locations.

Iowa, Minnesota, and Wisconsin

Figure 2. Map of Wisconsin and surrounding areas showing ET station locations

In this example, site 158 (Wautoma) in southern Wisconsin is used. The following shows the ASCE reference equation results from Appendix B:

Table 3. Example Table Showing Monthly Evapotranspiration Values (in/day)

| Station Map ID | State | Lat | Long | Elev | Station Name | ASCE Standardized Reference Evapotrasnspirration Equation (ETo) (inday) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Years of Data | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| 137 | TN | 35.99 | -89.406 | 208 | Dyersburg Tennessee | 7 | 0.04 | 0.07 | 0.12 | 0.16 | 0.19 | 0.19 | 0.18 | 0.17 | 0.16 | 0.14 | 0.08 | 0.04 |
| 138 | TN | 35.84 | -84.331 | 1240 | Lenoir City Tennessee | 7 | 0.04 | 0.07 | 0.11 | 0.14 | 0.15 | 0.16 | 0.15 | 0.14 | 0.13 | 0.09 | 0.06 | 0.05 |
| 139 | TN | 36.37 | -83.899 | 1657 | Chuck Swan SF TN | 7 | 0.04 | 0.07 | 0.10 | 0.14 | 0.15 | 0.16 | 0.15 | 0.14 | 0.13 | 0.09 | 0.06 | 0.04 |
| 140 | TX | 30.17 | -97.256 | 383 | Bastrop Texas | 7 | 0.07 | 0.10 | 0.14 | 0.18 | 0.21 | 0.24 | 0.24 | 0.23 | 0.19 | 0.14 | 0.09 | 0.07 |
| 141 | TX | 30.11 | -94.931 | 100 | Dayton Texas | 7 | 0.06 | 0.08 | 0.12 | 0.15 | 0.17 | 0.19 | 0.17 | 0.15 | 0.15 | 0.11 | 0.07 | 0.06 |
| 142 | TX | 32.61 | -96.993 | 520 | Cedar Hill SP Texas | 7 | 0.07 | 0.09 | 0.13 | 0.17 | 0.20 | 0.23 | 0.24 | 0.23 | 0.18 | 0.14 | 0.08 | 0.08 |
| 143 | UT | 41.15 | -111.92 | 5100 | Bues Canyon Utah | 12 | 0.02 | 0.05 | 0.09 | 0.14 | 0.18 | 0.21 | 0.24 | 0.21 | 0.18 | 0.12 | 0.07 | 0.02 |
| 144 | VA | 36.68 | -75.933 | 1200 | Back Bay Virginia | 8 | 0.05 | 0.08 | 0.11 | 0.15 | 0.16 | 0.17 | 0.17 | 0.15 | 0.14 | 0.11 | 0.08 | 0.06 |
| 145 | VA | 38.1 | -78.785 | 2080 | Sawmill Ridge Virginia | 4 | 0.04 | 0.06 | 0.09 | 0.13 | 0.13 | 0.14 | 0.13 | 0.12 | 0.12 | 0.08 | 0.06 | 0.04 |
| 146 | VA | 37.01 | -81.179 | 2540 | Stony Fork Virginia | 5 | 0.02 | 0.06 | 0.09 | 0.13 | 0.13 | 0.14 | 0.13 | 0.12 | 0.11 | 0.08 | 0.06 | 0.04 |
| 147 | VA | 37.99 | -79.759 | 2580 | Lime Kiln Virginia | 4 | 0.04 | 0.07 | 0.11 | 0.15 | 0.15 | 0.15 | 0.15 | 0.13 | 0.12 | 0.09 | 0.06 | 0.04 |
| 148 | VA | 37.25 | -77.25 | 50 | James River Virginia | 6 | 0.05 | 0.08 | 0.11 | 0.16 | 0.16 | 0.17 | 0.16 | 0.13 | 0.14 | 0.10 | 0.08 | 0.06 |
| 149 | VT | 44.51 | -73.116 | 340 | Essex Junction Vermont | 6 | 0.02 | 0.02 | 0.04 | 0.11 | 0.14 | 0.16 | 0.17 | 0.14 | 0.11 | 0.07 | 0.04 | 0.02 |
| 150 | VT | 43.33 | -73.033 | 668 | Sweezy Vermont | 9 | 0.02 | 0.03 | 0.04 | 0.11 | 0.13 | 0.14 | 0.14 | 0.12 | 0.10 | 0.08 | 0.04 | 0.02 |
| 151 | VT | 44.54 | -72.529 | 1200 | Elmore Vermont | 6 | 0.02 | 0.02 | 0.04 | 0.09 | 0.13 | 0.13 | 0.14 | 0.12 | 0.09 | 0.07 | 0.03 | 0.01 |
| 152 | WA | 46.27 | -117.5 | 4500 | Alder Ridge Washington | 8 | 0.04 | 0.05 | 0.07 | 0.12 | 0.15 | 0.18 | 0.25 | 0.19 | 0.14 | 0.09 | 0.07 | 0.03 |
| 153 | WA | 47.2 | -121.96 | 771 | Enumclaw Washington | 6 | 0.03 | 0.04 | 0.07 | 0.10 | 0.10 | 0.15 | 0.16 | 0.13 | 0.08 | 0.06 | 0.05 | 0.04 |
| 154 | WA | 34.1 | -118.22 | 920 | Mt. Washington CA | 7 | 0.02 | 0.04 | 0.07 | 0.09 | 0.12 | 0.14 | 0.17 | 0.15 | 0.12 | 0.06 | 0.03 | 0.02 |
| 155 | WA | 47.82 | -122.88 | 62 | Quilcene Washington | 5 | 0.02 | 0.03 | 0.05 | 0.09 | 0.11 | 0.12 | 0.15 | 0.12 | 0.07 | 0.05 | 0.03 | 0.01 |
| 156 | WA | 47.42 | -117.53 | 2230 | Turnbull NWR WA | 8 | 0.01 | 0.03 | 0.06 | 0.10 | 0.14 | 0.17 | 0.20 | 0.17 | 0.12 | 0.08 | 0.03 | 0.01 |
| 157 | WI | 43.57 | -88.609 | 800 | Horicon Wisconsin | 8 | 0.02 | 0.02 | 0.09 | 0.18 | 0.18 | 0.19 | 0.12 | 0.10 | 0.11 | 0.12 | 0.11 | 0.02 |
| 158 | WI | 43.1 | -89.333 | 857 | Wautoma Wisconsin | 5 | 0.01 | 0.02 | 0.05 | 0.12 | 0.16 | 0.17 | 0.18 | 0.14 | 0.10 | 0.07 | 0.04 | 0.01 |
| 159 | WI | 43.1 | -90 | 1260 | Dodgeville Wisconsin | 5 | 0.02 | 0.02 | 0.05 | 0.12 | 0.16 | 0.18 | 0.18 | 0.14 | 0.12 | 0.09 | 0.06 | 0.02 |
| 160 | WV | 38.3 | -82.417 | 735 | Beech Fork West Virginia | 3 | 0.02 | 0.06 | 0.10 | 0.13 | 0.14 | 0.15 | 0.15 | 0.13 | 0.13 | 0.09 | 0.06 | 0.04 |
| 161 | WV | 40.54 | -80.584 | 1013 | Tomlinson Run WV | 6 | 0.01 | 0.01 | 0.08 | 0.12 | 0.15 | 0.15 | 0.15 | 0.14 | 0.12 | 0.09 | 0.07 | 0.04 |
| 162 | WV | 39.11 | -79.426 | 3853 | Davis (Bearden) WV | 3 | 0.03 | 0.02 | 0.09 | 0.13 | 0.13 | 0.13 | 0.13 | 0.11 | 0.10 | 0.08 | 0.06 | 0.04 |
| 163 | WY | 42.71 | -106.35 | 7740 | Casper Mountain WY | 11 | 0.03 | 0.07 | 0.11 | 0.14 | 0.17 | 0.20 | 0.23 | 0.21 | 0.17 | 0.12 | 0.07 | 0.03 |

Five years of data area available and the monthly ETo values range from about 0.01 to 0.02 in/day during December through February to highs of about 0.16 to 0.18 in/day during May to July. The total annual ETo is about 35 inches.

The microclimate factor for this site is assumed to be low, shaded with wind protection, 0.65. Therefore, these monthly values should be reduced by this factor. Again, the plant species and density factors are calculated in WinSLAMM, so only apply the microclimate factor.

Table 4. Evapotranspiration Adjustments due to Microclimate Factor

|  | ASCE Reference ETo (in/day) | Adjusted ETo due to microclimate factor |
| --- | --- | --- |
| January | 0.01 | 0.006 |
| February | 0.02 | 0.01 |
| March | 0.05 | 0.03 |
| April | 0.12 | 0.078 |
| May | 0.16 | 0.10 |
| June | 0.17 | 0.11 |
| July | 0.18 | 0.12 |
| August | 0.14 | 0.091 |
| September | 0.10 | 0.065 |
| October | 0.07 | 0.05 |
| November | 0.04 | 0.03 |
| December | 0.01 | 0.006 |

The low winter ETo values assume some, but very low plant activity. These can be reduced to zero for dormant plant conditions.

# Evaporation Data and Use in WinSLAMM

Evaporation data is used to account for water losses from standing water in WinSLAMM, such as for wet detention ponds and water ponded in biofilters. Evaporation data is available for many locations in the US from Class A evaporation pans generally under the direction of NOAA. The attached spreadsheet data are from the NOAA Cooperative Observer (COOP) Network (https://www.sciencebase.gov/catalog/item/59124c44e4b0e541a03c20de).

As noted on the spreadsheet, “the datasets were compiled and quality controlled for the analysis shown in Dewes et al., 2017. The dataset is comprised of 247 stations reporting warm season (May-October; for 21 stations the data is only available for May-September) pan evaporation with at least 20 years of data between 1950 and 2001. Both monthly values and long-term monthly averages are made available, including the climatological measure for standard deviation and coefficient of variation. Missing or unobserved data is shown as NaN.”

The following maps show the locations of these 247 pan evaporation stations:

Figure 3. Locator map showing 247 pan evaporation station locations.

Figure 4. East coast map showing pan evaporation stations

Figure 5. South central US pan evaporation locations.

Figure 6. West coast pan evaporation station locations.

The above pan evaporation data cover much of the US, but there are some regions lacking information. Another source of collated pan evaporation data (attached as a pdf document) is NOAA Technical Report NWS 34: Mean Monthly, Seasonal, and Annual Pan Evaporation for the United States (1982). This report has many more locations represented and for all 12 months of the year. However, the last period reported for most locations is 1979. Therefore, the prior data source is recommended as it contains information up through 2001.

With climate change occurring more rapidly in recent years, it is expected that these values will further change. These data sources may be sufficient for stormwater mass balance calculations at stormwater controls, but more recent data may be warranted for critical applications.

## Pan Evaporation Adjustments

Class A evaporation data need to be adjusted to account for their shallow depths and small sizes, when applying to typical applications. Evaporation from a shallow lake, wet soil, or other moist natural surfaces is roughly 70 percent of the evaporation from a Class A pan for the same meteorological conditions. Some data are available showing how these vary by season. An example for Colorado (https://coagmet.colostate.edu/ET_Workshop/pdf/11_Jenson.pdf) is:

Table 5. Example Colorado Monthly Pan Evaporation Coefficients

|  | Pan coefficient |
| --- | --- |
| April | 0.60 |
| May | 0.63 |
| June | 0.67 |
| July | 0.71 |
| August | 0.75 |
| September | 0.78 |
| October | 0.77 |

The average from April through October is the standard 0.70. Cooler months have lower coefficients as the water temperatures in the target water body is lower than during the later season months when the water temperatures are higher for a greater depth.

## Pan Evaporation Data Example

The following is an example of evaporation values for the Horticulture Teaching and Research Center, Michigan State University, Lansing, MI.

Table 6. Pan Evaporation Location at Lansing, MI.

| Station ID | Latitude | Longitude | Long-Term Annual Average (mm) | Standard Deviation (mm) | Coefficient of Variation |
| --- | --- | --- | --- | --- | --- |
| 202395 | 42.6742 | -84.485 | 880.28 | 52.78 | 0.06 |

The following table was extracted from the spreadsheet, and the years with missing data were removed. The monthly values are for total pan evaporation for each month. Most northern locations only have data for May through October. These values were then summarized by month.

Table 7. Monthly Pan Evaporation Data for Lansing, MI (mm/month)

| Station ID | year | May | June | July | August | September | October | Annual total (mm/yr) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 202395 | 1957 | 136.429 | 194.682 | 212.274 | 177.339 | 129.088 | 73.918 | 923.73 |
| 202395 | 1958 | 215.419 | 193.922 | 184.584 | 187.999 | 133.148 | 96.008 | 1011.08 |
| 202395 | 1960 | 127.289 | 195.952 | 216.084 | 152.439 | 146.868 | 79.758 | 918.39 |
| 202395 | 1961 | 177.829 | 197.982 | 183.314 | 145.589 | 132.898 | 71.118 | 908.73 |
| 202395 | 1962 | 184.689 | 205.852 | 192.454 | 181.649 | 150.418 | 70.358 | 985.42 |
| 202395 | 1963 | 145.319 | 199.252 | 207.694 | 152.949 | 125.778 | 104.138 | 935.13 |
| 202395 | 1964 | 184.179 | 220.842 | 204.654 | 169.459 | 137.978 | 70.608 | 987.72 |
| 202395 | 1965 | 182.149 | 213.732 | 249.604 | 166.919 | 125.528 | 68.068 | 1006 |
| 202395 | 1967 | 172.762 | 194.142 | 191.899 | 182.49 | 137.841 | 78.692 | 957.826 |
| 202395 | 1968 | 137.462 | 171.282 | 218.829 | 170.05 | 123.621 | 79.962 | 901.206 |
| 202395 | 1970 | 152.702 | 178.902 | 168.029 | 182.24 | 112.701 | 65.482 | 860.056 |
| 202395 | 1971 | 189.022 | 222.332 | 208.919 | 183.51 | 130.731 | 76.662 | 1011.176 |
| 202395 | 1972 | 163.112 | 166.202 | 191.899 | 129.41 | 115.491 | 68.022 | 834.136 |
| 202395 | 1974 | 130.852 | 180.682 | 236.609 | 176.65 | 138.861 | 90.122 | 953.776 |
| 202395 | 1975 | 176.062 | 191.602 | 217.299 | 143.89 | 99.241 | 90.122 | 918.216 |
| 202395 | 1976 | 170.482 | 247.732 | 232.539 | 186.05 | 195.761 | 113.492 | 1146.056 |
| 202395 | 1977 | 241.602 | 221.322 | 225.679 | 158.36 | 110.671 | 63.962 | 1021.596 |
| 202395 | 1978 | 156.512 | 228.682 | 194.189 | 175.64 | 161.971 | 75.642 | 992.636 |
| 202395 | 1979 | 170.222 | 227.672 | 183.769 | 146.43 | 160.451 | 69.552 | 958.096 |
| 202395 | 1983 | 168.528 | 179.917 | 199.603 | 155.998 | 145.758 | 80.007 | 929.811 |
| 202395 | 1984 | 169.798 | 225.637 | 213.063 | 177.588 | 124.668 | 78.487 | 989.241 |
| 202395 | 1990 | 164.55 | 203.62 | 200.83 | 154.265 | 150.54 | 92.924 | 966.729 |
| 202395 | 1993 | 189.44 | 193.21 | 219.37 | 188.805 | 106.09 | 75.394 | 972.309 |
| 202395 | 1994 | 191.98 | 231.31 | 198.04 | 161.625 | 148.76 | 70.824 | 1002.539 |
| 202395 | 1995 | 155.15 | 196.26 | 197.02 | 168.995 | 150.03 | 85.044 | 952.499 |
| 202395 | 1996 | 162.52 | 180 | 205.91 | 181.695 | 118.28 | 69.044 | 917.449 |
| 202395 | 1997 | 151.34 | 212.26 | 216.83 | 145.375 | 137.58 | 82.254 | 945.639 |
| 202395 | 1998 | 177.8 | 187.71 | 200.41 | 158.5 | 148.08 | 76.45 | 948.95 |
| 202395 | 1999 | 177.29 | 193.8 | 196.34 | 159.51 | 157.48 | 85.34 | 969.76 |
| 202395 | 2001 | 152.4 | 226.82 | 222.25 | 182.37 | 100.08 | 75.95 | 959.87 |

Table 8. Monthly Pan Evaporation Data Summary for Lansing, MI (mm/month).

|  | May | June | July | August | September | October | Annual total |
| --- | --- | --- | --- | --- | --- | --- | --- |
| count | 30 | 30 | 30 | 30 | 30 | 30 | 30 |
| min | 127.29 | 166.20 | 168.03 | 129.41 | 99.24 | 63.96 | 834.14 |
| max | 241.60 | 247.73 | 249.60 | 188.81 | 195.76 | 113.49 | 1146.06 |
| average | 169.16 | 202.78 | 206.33 | 166.79 | 135.21 | 79.25 | 959.53 |
| median | 170.01 | 197.12 | 205.28 | 169.23 | 135.36 | 76.56 | 957.96 |
| stdev | 24.09 | 20.17 | 17.57 | 15.88 | 20.75 | 11.48 | 56.22 |
| COV | 0.14 | 0.10 | 0.09 | 0.10 | 0.15 | 0.14 | 0.06 |

Table 9. Monthly Pan Evaporation Conversions and Adjustment Calculations for Lansing, MI

|  | average monthly total (mm) | days per month | mm/day | in/day | with 0.7 pan adjustment factor, in/day |
| --- | --- | --- | --- | --- | --- |
| May | 169.163 | 31 | 5.457 | 0.21 | 0.15 |
| June | 202.7771 | 20 | 10.139 | 0.40 | 0.28 |
| July | 206.3329 | 31 | 6.656 | 0.26 | 0.18 |
| August | 166.7929 | 31 | 5.380 | 0.21 | 0.15 |
| September | 135.213 | 30 | 4.507 | 0.18 | 0.12 |
| October | 79.2468 | 31 | 2.556 | 0.10 | 0.07 |

The winter and spring months not shown (November through April) would have 0 in/day evaporation values.

# Appendix A: Maps Showing ETo Data Availability

Alabama, Kentucky, and Tennessee

Arizona, Utah, and Nevada

Northern California

Southern California

San Francisco Bay Area

Colorado

Delaware, Pennsylvania, and Maryland

Florida

Georgia and South Carolina

Hawaii

Iowa, Minnesota, and Wisconsin

Idaho

Illinois, Indiana, and Michigan

Kansas, Nebraska, and Oklahoma

Maine

Missouri, Arkansas, Louisiana, and Mississippi

Montana and Wyoming

North Carolina, West Virginia, and Virginia

Nebraska, North Dakota, and South Dakota

New Hampshire, Massachusetts, Vermont, Connecticut, and Rhode Island

New York and New Jersey

Ohio and West Virginia

Texas and Oklahoma

Washington and Oregon

# Appendix B: Average Monthly ET Values

| Map ID | State | Lat | Long | Elev | Station Name | Years of Data | ASCE Standardized Reference Evaporation Equation (ETo) (inday) |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| 1 | AK | 64.84 | -147.62 | 454 | Fairbanks Alaska |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | AK | 61.08 | -149.73 | 1480 | Rabbit Creek Alaska |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | AK | 57.8 | -135.13 | 450 | Hoonah Alaska |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | AL | 33.44 | -86.081 | 600 | Talladega Alabama | 5 | 0.04 | 0.08 | 0.11 | 0.15 | 0.16 | 0.16 | 0.16 | 0.15 | 0.14 | 0.12 | 0.07 | 0.05 |
| 5 | AL | 32.96 | -87.171 | 363 | Oakmulgee Alabama | 7 | 0.05 | 0.06 | 0.10 | 0.13 | 0.15 | 0.16 | 0.15 | 0.14 | 0.14 | 0.10 | 0.07 | 0.05 |
| 6 | AL | 34.14 | -87.362 | 804 | Bankhead Alabama | 7 | 0.04 | 0.08 | 0.11 | 0.17 | 0.16 | 0.17 | 0.16 | 0.16 | 0.14 | 0.12 | 0.07 | 0.05 |
| 7 | AL | 32.45 | -85.641 | 283 | Tuskegee Alabama | 5 | 0.05 | 0.08 | 0.12 | 0.16 | 0.17 | 0.18 | 0.17 | 0.15 | 0.15 | 0.12 | 0.08 | 0.04 |
| 8 | AR | 34.76 | -90.722 | 253 | Marianna Arkansas | 3 | 0.04 | 0.06 | 0.11 | 0.15 | 0.16 | 0.20 | 0.18 | 0.17 | 0.14 | 0.10 | 0.07 | 0.04 |
| 9 | AR | 34.27 | -92.393 | 270 | Sheridan Arkansas | 6 | 0.04 | 0.07 | 0.12 | 0.08 | 0.19 | 0.20 | 0.21 | 0.19 | 0.17 | 0.11 | 0.08 | 0.04 |
| 10 | AR | 36.07 | -93.357 | 2365 | Compton Arkansas | 2 | 0.04 | 0.06 | 0.11 | 0.16 | 0.17 | 0.22 | 0.18 | 0.19 | 0.15 | 0.15 | 0.09 | 0.05 |
| 11 | AR | 35.87 | -94.297 | 1633 | Strickler Arkansas | 6 | 0.06 | 0.06 | 0.13 | 0.17 | 0.16 | 0.19 | 0.21 | 0.22 | 0.17 | 0.13 | 0.11 | 0.06 |
| 12 | AZ | 32.4 | -110.27 | 4175 | Muleshoe Ranch AZ | 13 | 0.07 | 0.13 | 0.17 | 0.24 | 0.28 | 0.30 | 0.24 | 0.22 | 0.23 | 0.20 | 0.12 | 0.08 |
| 13 | AZ | 35.15 | -111.68 | 7000 | Flagstaff Arizona | 10 | 0.04 | 0.07 | 0.11 | 0.16 | 0.20 | 0.24 | 0.22 | 0.18 | 0.17 | 0.13 | 0.07 | 0.04 |
| 14 | AZ | 32.32 | -110.81 | 3100 | Saguaro Arizona | 8 | 0.09 | 0.14 | 0.17 | 0.24 | 0.28 | 0.29 | 0.25 | 0.22 | 0.24 | 0.19 | 0.13 | 0.08 |
| 15 | AZ | 34.2 | -112.14 | 2960 | Sunset Point Arizona | 13 | 0.13 | 0.17 | 0.29 | 0.29 | 0.36 | 0.40 | 0.42 | 0.44 | 0.42 | 0.30 | 0.19 | 0.14 |
| 16 | CA | 37.79 | -122.14 | 1095 | Oakland South CA | 5 | 0.05 | 0.07 | 0.11 | 0.15 | 0.18 | 0.21 | 0.22 | 0.19 | 0.16 | 0.12 | 0.07 | 0.05 |
| 17 | CA | 34.13 | -118.41 | 1260 | Beverly Hills California | 6 | 0.07 | 0.08 | 0.10 | 0.14 | 0.14 | 0.15 | 0.12 | 0.12 | 0.10 | 0.08 | 0.08 | 0.07 |
| 18 | CA | 34.46 | -119.65 | 1500 | Montecito California | 6 | 0.08 | 0.08 | 0.11 | 0.15 | 0.17 | 0.19 | 0.18 | 0.18 | 0.15 | 0.12 | 0.11 | 0.07 |
| 19 | CA | 32.69 | -116.97 | 425 | San Miguel California | 5 | 0.07 | 0.09 | 0.11 | 0.15 | 0.16 | 0.17 | 0.18 | 0.18 | 0.14 | 0.12 | 0.08 | 0.06 |
| 20 | CA | 34.29 | -118.81 | 914 | Simi Valley California | 9 | 0.10 | 0.09 | 0.11 | 0.15 | 0.15 | 0.17 | 0.20 | 0.17 | 0.16 | 0.13 | 0.10 | 0.08 |
| 21 | CO | 39.48 | -105.21 | 8725 | Waterton North CO | 9 | 0.04 | 0.07 | 0.10 | 0.15 | 0.17 | 0.20 | 0.19 | 0.18 | 0.16 | 0.13 | 0.07 | 0.04 |
| 22 | CO | 40.57 | -105.23 | 6082 | Redstone Colorado | 11 | 0.04 | 0.04 | 0.06 | 0.07 | 0.13 | 0.15 | 0.16 | 0.13 | 0.13 | 0.05 | 0.05 | 0.03 |
| 23 | CO | 38.66 | -104.85 | 6700 | Ft. Carson Colorado | 10 | 0.05 | 0.08 | 0.11 | 0.16 | 0.18 | 0.22 | 0.21 | 0.18 | 0.17 | 0.13 | 0.08 | 0.05 |
| 24 | DE | 38.74 | -75.415 | 50 | Redden Delaware | 6 | 0.04 | 0.05 | 0.11 | 0.14 | 0.18 | 0.18 | 0.18 | 0.15 | 0.13 | 0.10 | 0.08 | 0.06 |
| 25 | FL | 25.63 | -80.58 | 5 | Chekika Florida | 8 | 0.11 | 0.14 | 0.17 | 0.21 | 0.20 | 0.18 | 0.16 | 0.16 | 0.16 | 0.16 | 0.13 | 0.11 |
| 26 | FL | 29.11 | -81.63 | 61 | Central Florida | 6 | 0.08 | 0.12 | 0.15 | 0.19 | 0.18 | 0.18 | 0.16 | 0.16 | 0.15 | 0.14 | 0.10 | 0.08 |
| 27 | FL | 30.01 | -84.424 | 50 | St. Marks (West) Florida | 7 | 0.10 | 0.11 | 0.13 | 0.14 | 0.14 | 0.15 | 0.15 | 0.13 | 0.13 | 0.12 | 0.10 | 0.10 |
| 28 | GA | 30.92 | -81.429 | 25 | Stafford-CUIS Georgia | 5 | 0.07 | 0.09 | 0.13 | 0.19 | 0.17 | 0.17 | 0.16 | 0.14 | 0.14 | 0.13 | 0.09 | 0.07 |
| 29 | GA | 32.1 | -81.083 | 10 | Savannah NWR SC | 6 | 0.06 | 0.09 | 0.13 | 0.17 | 0.19 | 0.18 | 0.17 | 0.14 | 0.14 | 0.12 | 0.08 | 0.06 |
| 30 | GA | 33.21 | -83.714 | 476 | Oconee #1 Georgia | 9 | 0.04 | 0.09 | 0.10 | 0.14 | 0.17 | 0.17 | 0.17 | 0.14 | 0.11 | 0.11 | 0.08 | 0.06 |
| 31 | GA | 32.01 | -82.9 | 250 | McRae Georgia | 6 | 0.06 | 0.09 | 0.12 | 0.17 | 0.18 | 0.18 | 0.16 | 0.15 | 0.15 | 0.13 | 0.08 | 0.06 |
| 32 | GA | 32.39 | -82.037 | 99 | Metter Georgia | 7 | 0.06 | 0.09 | 0.12 | 0.16 | 0.17 | 0.18 | 0.18 | 0.15 | 0.16 | 0.12 | 0.08 | 0.06 |
| 33 | GA | 33.9 | -83.366 | 675 | Watkinsville Georgia | 6 | 0.06 | 0.07 | 0.11 | 0.12 | 0.14 | 0.18 | 0.18 | 0.16 | 0.15 | 0.12 | 0.08 | 0.05 |
| 34 | GA | 32.01 | -84.33 | 526 | Plains/Sumter Georgia | 6 | 0.07 | 0.09 | 0.13 | 0.16 | 0.17 | 0.17 | 0.17 | 0.15 | 0.14 | 0.12 | 0.10 | 0.07 |
| 35 | GA | 31.71 | -82.388 | 109 | Baxley Georgia | 7 | 0.06 | 0.09 | 0.12 | 0.14 | 0.17 | 0.18 | 0.16 | 0.14 | 0.14 | 0.12 | 0.08 | 0.06 |
| 36 | GA | 33.83 | -84.74 | 907 | Dallas Georgia | 7 | 0.05 | 0.06 | 0.10 | 0.12 | 0.13 | 0.16 | 0.17 | 0.16 | 0.14 | 0.12 | 0.07 | 0.05 |

| Station Map ID | State | Lat | Long | Elev | Station Name | ASCE Standardized Reference Evaporation Equation (ETo) (inday) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Years of Data | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| 37 | HI | 19.82 | -155.33 | 6400 | Hakalau Hawaii | 7 | 0.10 | 0.13 | 0.15 | 0.15 | 0.15 | 0.16 | 0.16 | 0.15 | 0.17 | 0.14 | 0.12 | 0.10 |
| 38 | HI | 21.53 | -158.23 | 20 | Makua Range Hawaii | 10 | 0.11 | 0.14 | 0.15 | 0.16 | 0.17 | 0.17 | 0.17 | 0.16 | 0.18 | 0.15 | 0.13 | 0.11 |
| 39 | HI | 21.5 | -157.9 | 2293 | Oahu Forest NWR HI | 4 | 0.12 | 0.15 | 0.16 | 0.16 | 0.17 | 0.17 | 0.17 | 0.16 | 0.18 | 0.15 | 0.13 | 0.11 |
| 40 | HI | 19.67 | -156.02 | 25 | Kaloko-Honokohau HI | 6 | 0.09 | 0.11 | 0.12 | 0.13 | 0.14 | 0.15 | 0.16 | 0.14 | 0.15 | 0.13 | 0.10 | 0.10 |
| 41 | HI | 21.5 | -158.08 | 980 | Schofield Barracks HI | 10 | 0.11 | 0.13 | 0.15 | 0.17 | 0.16 | 0.16 | 0.16 | 0.16 | 0.17 | 0.15 | 0.12 | 0.11 |
| 42 | IA | 41.57 | -93.258 | 898 | Neal Smith Iowa | 8 | 0.03 | 0.04 | 0.09 | 0.17 | 0.18 | 0.19 | 0.19 | 0.15 | 0.15 | 0.11 | 0.07 | 0.03 |
| 43 | IA | 41.83 | -95.928 | 1070 | Loess Hills State Forest IA | 8 | 0.02 | 0.03 | 0.09 | 0.19 | 0.21 | 0.19 | 0.17 | 0.17 | 0.17 | 0.11 | 0.06 | 0.03 |
| 44 | IA | 41.42 | -95.854 | 1260 | Loess Hills Hitchcock IA | 3 | 0.03 | 0.08 | 0.08 | 0.14 | 0.17 | 0.19 | 0.19 | 0.16 | 0.14 | 0.10 | 0.06 | 0.05 |
| 45 | IA | 40.65 | -91.724 | 651 | Shimek State Forest IA | 3 | 0.02 | 0.01 | 0.08 | 0.15 | 0.17 | 0.18 | 0.19 | 0.15 | 0.13 | 0.10 | 0.07 | 0.01 |
| 46 | IA | 41.53 | -96.083 | 732 | Desoto Iowa | 7 | 0.02 | 0.03 | 0.08 | 0.14 | 0.17 | 0.18 | 0.20 | 0.16 | 0.14 | 0.12 | 0.06 | 0.02 |
| 47 | ID | 42.97 | -114.06 | 4260 | Rock Lake Idaho | 10 | 0.02 | 0.06 | 0.09 | 0.14 | 0.17 | 0.20 | 0.24 | 0.21 | 0.17 | 0.11 | 0.05 | 0.02 |
| 48 | ID | 43.03 | -115.87 | 3000 | Mountain Home Idaho | 7 | 0.03 | 0.07 | 0.12 | 0.15 | 0.18 | 0.19 | 0.25 | 0.21 | 0.18 | 0.13 | 0.06 | 0.03 |
| 49 | ID | 43.65 | -111.58 | 7040 | Moody Idaho | 10 | 0.01 | 0.02 | 0.07 | 0.12 | 0.15 | 0.18 | 0.21 | 0.18 | 0.15 | 0.11 | 0.06 | 0.01 |
| 50 | ID | 43.59 | -115.99 | 3170 | Lucky Peak Idaho | 12 | 0.02 | 0.05 | 0.09 | 0.13 | 0.17 | 0.21 | 0.25 | 0.21 | 0.17 | 0.11 | 0.05 | 0.05 |
| 51 | IL | 37.25 | -89.378 | 700 | Bean Ridge Illinois | 8 | 0.02 | 0.06 | 0.10 | 0.15 | 0.17 | 0.19 | 0.19 | 0.15 | 0.15 | 0.12 | 0.06 | 0.04 |
| 52 | IL | 41.34 | -88.131 | 489 | Midewin Tall Grass IL | 5 | 0.02 | 0.03 | 0.08 | 0.16 | 0.19 | 0.21 | 0.19 | 0.16 | 0.15 | 0.11 | 0.07 | 0.02 |
| 53 | IL | 37.68 | -89.003 | 450 | Crab Orchard Illinois | 7 | 0.04 | 0.05 | 0.10 | 0.15 | 0.15 | 0.19 | 0.17 | 0.16 | 0.13 | 0.11 | 0.08 | 0.04 |
| 54 | IN | 38.93 | -85.363 | 900 | Big Oaks Indiana | 6 | 0.02 | 0.03 | 0.08 | 0.13 | 0.15 | 0.17 | 0.16 | 0.14 | 0.13 | 0.10 | 0.07 | 0.04 |
| 55 | IN | 41.63 | -87.088 | 647 | Bailly Indiana | 5 | 0.02 | 0.03 | 0.07 | 0.13 | 0.16 | 0.17 | 0.16 | 0.13 | 0.12 | 0.09 | 0.06 | 0.02 |
| 56 | IN | 39 | -86.423 | 750 | Hardin Ridge Indiana | 8 | 0.03 | 0.03 | 0.09 | 0.15 | 0.17 | 0.20 | 0.18 | 0.15 | 0.13 | 0.10 | 0.07 | 0.04 |
| 57 | IN | 38.13 | -86.625 | 718 | Tipsaw Lake Indiana | 7 | 0.02 | 0.06 | 0.09 | 0.14 | 0.16 | 0.17 | 0.16 | 0.14 | 0.13 | 0.10 | 0.06 | 0.04 |
| 58 | KS | 39.34 | -95.854 | 1100 | Potawatomi Kansas | 3 | 0.04 | 0.06 | 0.10 | 0.16 | 0.17 | 0.18 | 0.20 | 0.17 | 0.16 | 0.11 | 0.08 | 0.04 |
| 59 | KS | 38.17 | -98.5 | 1773 | Stafford Kansas | 7 | 0.05 | 0.08 | 0.13 | 0.17 | 0.19 | 0.22 | 0.24 | 0.21 | 0.18 | 0.14 | 0.08 | 0.05 |
| 60 | KY | 37.77 | -83.633 | 1300 | Koomer Kentucky | 8 | 0.04 | 0.05 | 0.10 | 0.17 | 0.16 | 0.17 | 0.15 | 0.15 | 0.13 | 0.11 | 0.08 | 0.04 |
| 61 | KY | 37.13 | -86.148 | 774 | Houchin Meadow KY | 4 | 0.03 | 0.06 | 0.11 | 0.15 | 0.15 | 0.18 | 0.18 | 0.15 | 0.13 | 0.09 | 0.06 | 0.03 |
| 62 | KY | 38.77 | -84.602 | 935 | Crittenden Kentucky | 6 | 0.02 | 0.04 | 0.08 | 0.14 | 0.15 | 0.17 | 0.16 | 0.14 | 0.14 | 0.12 | 0.09 | 0.03 |
| 63 | KY | 36.8 | -85.38 | 853 | Alpine Kentucky | 6 | 0.04 | 0.05 | 0.10 | 0.14 | 0.15 | 0.18 | 0.17 | 0.16 | 0.13 | 0.10 | 0.06 | 0.04 |
| 64 | LA | 30 | -92.893 | 5 | Lacassine Louisiana | 6 | 0.06 | 0.09 | 0.12 | 0.16 | 0.17 | 0.18 | 0.16 | 0.15 | 0.15 | 0.13 | 0.09 | 0.06 |
| 65 | LA | 30.32 | -89.933 | 11 | Big Branch NWR LA | 8 | 0.05 | 0.06 | 0.10 | 0.12 | 0.13 | 0.13 | 0.11 | 0.11 | 0.13 | 0.10 | 0.08 | 0.05 |
| 66 | LA | 32.8 | -93.067 | 230 | Caney - FTS Louisiana | 7 | 0.06 | 0.09 | 0.12 | 0.16 | 0.17 | 0.18 | 0.16 | 0.16 | 0.15 | 0.13 | 0.09 | 0.06 |
| 67 | MD | 39.65 | -76.139 | 300 | Susquehanna Maryland | 5 | 0.03 | 0.04 | 0.10 | 0.15 | 0.15 | 0.16 | 0.16 | 0.15 | 0.12 | 0.09 | 0.06 | 0.04 |
| 68 | MD | 38.65 | -76.821 | 200 | Cedarville Maryland | 5 | 0.03 | 0.07 | 0.10 | 0.15 | 0.16 | 0.18 | 0.17 | 0.15 | 0.13 | 0.10 | 0.07 | 0.05 |
| 69 | ME | 43.35 | -70.548 | 20 | Rachel Carson Maine | 5 | 0.02 | 0.03 | 0.07 | 0.10 | 0.13 | 0.14 | 0.14 | 0.12 | 0.10 | 0.07 | 0.04 | 0.02 |

| Station Map ID | State | Lat | Long | Elev | Station Name | ASCE Standardized Reference Evaporation Equation (ETo) (inday) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Years of Data | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| 70 | ME | 44.9 | -68.64 | 114 | Sunkhaze Meadows ME | 9 | 0.01 | 0.02 | 0.04 | 0.10 | 0.12 | 0.14 | 0.14 | 0.13 | 0.10 | 0.06 | 0.03 | 0.01 |
| 71 | MI | 44.72 | -84.709 | 1120 | Grayling Michigan | 6 | 0.01 | 0.02 | 0.06 | 0.11 | 0.16 | 0.16 | 0.15 | 0.12 | 0.08 | 0.05 | 0.03 | 0.01 |
| 72 | MI | 42.82 | -83.696 | 906 | Holly Michigan | 4 | 0.02 | 0.02 | 0.06 | 0.11 | 0.16 | 0.17 | 0.17 | 0.15 | 0.12 | 0.09 | 0.05 | 0.02 |
| 73 | MN | 46.84 | -92.462 | 1330 | Saginaw Minnesota | 4 | 0.01 | 0.02 | 0.04 | 0.10 | 0.13 | 0.13 | 0.14 | 0.12 | 0.10 | 0.07 | 0.03 | 0.01 |
| 74 | MN | 44.03 | -96.267 | 1660 | Redstn Minnesota | 3 | 0.01 | 0.02 | 0.04 | 0.12 | 0.17 | 0.19 | 0.18 | 0.15 | 0.13 | 0.09 | 0.04 | 0.01 |
| 75 | MN | 45.3 | -93.101 | 900 | Carlos Avery Minnesota | 4 | 0.01 | 0.02 | 0.04 | 0.11 | 0.17 | 0.17 | 0.18 | 0.15 | 0.11 | 0.09 | 0.03 | 0.01 |
| 76 | MO | 37.5 | -91.259 | 1333 | Sinkin Missouri | 9 | 0.04 | 0.06 | 0.10 | 0.15 | 0.17 | 0.18 | 0.18 | 0.16 | 0.14 | 0.11 | 0.06 | 0.03 |
| 77 | MO | 37.07 | -93.897 | 1235 | Mt. Vernon Missouri | 6 | 0.05 | 0.08 | 0.11 | 0.15 | 0.22 | 0.17 | 0.20 | 0.17 | 0.15 | 0.11 | 0.07 | 0.05 |
| 78 | MO | 37.97 | -92.901 | 1090 | Macks Creek Missouri | 5 | 0.04 | 0.07 | 0.12 | 0.16 | 0.17 | 0.17 | 0.20 | 0.17 | 0.15 | 0.12 | 0.07 | 0.05 |
| 79 | MO | 38.81 | -92.257 | 798 | Ashland Missouri | 5 | 0.04 | 0.04 | 0.10 | 0.15 | 0.16 | 0.18 | 0.19 | 0.17 | 0.15 | 0.12 | 0.06 | 0.04 |
| 80 | MO | 38.35 | -93.775 | 750 | MDC Clinton Hqtrs MO | 5 | 0.04 | 0.05 | 0.09 | 0.14 | 0.16 | 0.19 | 0.18 | 0.18 | 0.14 | 0.12 | 0.07 | 0.04 |
| 81 | MO | 39.77 | -93.485 | 780 | Chillicothe Missouri | 6 | 0.03 | 0.04 | 0.09 | 0.15 | 0.17 | 0.10 | 0.20 | 0.17 | 0.15 | 0.12 | 0.07 | 0.03 |
| 82 | MO | 37.76 | -90 | 946 | Farmington Missouri | 6 | 0.04 | 0.07 | 0.11 | 0.15 | 0.17 | 0.18 | 0.19 | 0.17 | 0.15 | 0.11 | 0.06 | 0.04 |
| 83 | MO | 39.87 | -92.521 | 840 | Atlanta Missouri | 7 | 0.03 | 0.04 | 0.09 | 0.15 | 0.17 | 0.18 | 0.18 | 0.16 | 0.14 | 0.12 | 0.06 | 0.03 |
| 84 | MS | 31.95 | -90.381 | 150 | Copiah Mississippi | 7 | 0.05 | 0.08 | 0.12 | 0.15 | 0.17 | 0.18 | 0.16 | 0.17 | 0.16 | 0.13 | 0.09 | 0.06 |
| 85 | MS | 30.45 | -88.662 | 25 | Sandhill Crane MS | 7 | 0.06 | 0.10 | 0.13 | 0.17 | 0.18 | 0.17 | 0.17 | 0.15 | 0.16 | 0.14 | 0.09 | 0.07 |
| 86 | MS | 34.79 | -88.218 | 300 | Tishomingo Mississippi | 5 | 0.04 | 0.07 | 0.11 | 0.15 | 0.16 | 0.18 | 0.17 | 0.16 | 0.14 | 0.12 | 0.07 | 0.05 |
| 87 | MS | 34.62 | -89.314 | 500 | Winborn Mississippi | 7 | 0.04 | 0.07 | 0.12 | 0.14 | 0.16 | 0.18 | 0.17 | 0.16 | 0.15 | 0.11 | 0.07 | 0.05 |
| 88 | MS | 32.36 | -90.844 | 248 | Warren Mississippi | 6 | 0.06 | 0.09 | 0.13 | 0.16 | 0.18 | 0.19 | 0.18 | 0.16 | 0.14 | 0.12 | 0.08 | 0.07 |
| 89 | MT | 47.04 | -113.98 | 7920 | Point 6 Montana | 10 | 0.01 | 0.01 | 0.02 | 0.03 | 0.08 | 0.13 | 0.24 | 0.19 | 0.11 | 0.04 | 0.02 | 0.01 |
| 90 | MT | 45.45 | -111.22 | 5370 | Shenago Montana | 3 | 0.02 | 0.03 | 0.03 | 0.05 | 0.11 | 0.15 | 0.25 | 0.23 | 0.16 | 0.07 | 0.03 | 0.02 |
| 91 | MT | 45.73 | -108.4 | 4020 | Soda Springs Montana | 7 | 0.05 | 0.06 | 0.10 | 0.15 | 0.27 | 0.37 | 0.59 | 0.52 | 0.38 | 0.18 | 0.08 | 0.05 |
| 92 | NC | 35.8 | -82.65 | 2171 | 7 Mile Ridge NC | 6 | 0.06 | 0.07 | 0.10 | 0.15 | 0.15 | 0.15 | 0.14 | 0.13 | 0.11 | 0.10 | 0.07 | 0.05 |
| 93 | NC | 34.53 | -77.722 | 20 | Back Island NC | 8 | 0.06 | 0.09 | 0.12 | 0.17 | 0.17 | 0.17 | 0.17 | 0.15 | 0.15 | 0.12 | 0.08 | 0.06 |
| 94 | NC | 35.97 | -79.092 | 565 | Duke Forest NC | 10 | 0.05 | 0.08 | 0.10 | 0.15 | 0.17 | 0.16 | 0.16 | 0.14 | 0.13 | 0.10 | 0.08 | 0.05 |
| 95 | NC | 35.43 | -78.023 | 87 | Finch's Station NC | 4 | 0.05 | 0.08 | 0.12 | 0.16 | 0.16 | 0.17 | 0.16 | 0.14 | 0.14 | 0.10 | 0.07 | 0.05 |
| 96 | NC | 35.79 | -80.312 | 750 | Lexington NC | 7 | 0.06 | 0.10 | 0.13 | 0.16 | 0.16 | 0.17 | 0.16 | 0.14 | 0.13 | 0.11 | 0.07 | 0.06 |
| 97 | NC | 35.38 | -80.993 | 500 | Mt. Island Lake NC | 6 | 0.05 | 0.09 | 0.12 | 0.16 | 0.18 | 0.17 | 0.17 | 0.15 | 0.14 | 0.12 | 0.08 | 0.05 |
| 98 | ND | 46.68 | -100.24 | 1835 | Long Lake NWR ND | 3 | 0.02 | 0.03 | 0.08 | 0.13 | 0.15 | 0.16 | 0.18 | 0.16 | 0.12 | 0.08 | 0.05 | 0.01 |
| 99 | NE | 40.57 | -98.17 | 1790 | Rainwater Basin NE | 2 | 0.03 | 0.05 | 0.10 | 0.15 | 0.18 | 0.21 | 0.20 | 0.17 | 0.15 | 0.12 | 0.07 | 0.03 |
| 100 | NH | 43.98 | -71.141 | 460 | White Mountain NF NH | 6 | 0.02 | 0.02 | 0.04 | 0.10 | 0.12 | 0.14 | 0.15 | 0.13 | 0.09 | 0.07 | 0.03 | 0.02 |
| 101 | NJ | 40.41 | -74.494 | 116 | New Middlesex County NJ | 5 | 0.02 | 0.03 | 0.09 | 0.14 | 0.17 | 0.17 | 0.18 | 0.16 | 0.14 | 0.10 | 0.09 | 0.04 |
| 102 | NJ | 41.12 | -74.24 | 567 | Ringwood New Jersey | 3 | 0.01 | 0.03 | 0.12 | 0.12 | 0.14 | 0.14 | 0.13 | 0.11 | 0.10 | 0.13 | 0.11 | 0.05 |
| 103 | NJ | 39.23 | -74.804 | 87 | Woodbine New Jersey | 4 | 0.04 | 0.05 | 0.11 | 0.14 | 0.17 | 0.17 | 0.18 | 0.16 | 0.13 | 0.12 | 0.09 | 0.09 |
| 104 | NJ | 39.68 | -74.865 | 116 | Ancora Hospital NJ | 6 | 0.03 | 0.04 | 0.10 | 0.16 | 0.17 | 0.16 | 0.20 | 0.15 | 0.12 | 0.09 | 0.07 | 0.08 |

| Station Map ID | State | Lat | Long | Elev | Station Name | ASCE Standardized Reference Evaporation Equation (ETo) (inday) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Years of Data | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| 105 | NM | 32.32 | -106.59 | 6172 | Dripping Springs NM | 11 | 0.07 | 0.11 | 0.16 | 0.23 | 0.26 | 0.25 | 0.22 | 0.18 | 0.18 | 0.14 | 0.10 | 0.07 |
| 106 | NM | 35.23 | -106.59 | 5000 | Sandia Lakes New Mexico | 6 | 0.05 | 0.08 | 0.13 | 0.19 | 0.22 | 0.24 | 0.20 | 0.17 | 0.17 | 0.13 | 0.08 | 0.05 |
| 107 | NV | 39.24 | -119.88 | 6310 | Little Valley Nevada | 8 | 0.03 | 0.06 | 0.09 | 0.13 | 0.18 | 0.21 | 0.23 | 0.19 | 0.17 | 0.11 | 0.06 | 0.03 |
| 108 | NV | 46.22 | -112.23 | 6860 | Galena Montana | 8 | 0.04 | 0.06 | 0.10 | 0.13 | 0.17 | 0.20 | 0.23 | 0.20 | 0.17 | 0.11 | 0.07 | 0.05 |
| 109 | NV | 36.14 | -115.43 | 3760 | Red Rock Nevada | 12 | 0.07 | 0.11 | 0.15 | 0.22 | 0.26 | 0.31 | 0.30 | 0.27 | 0.26 | 0.19 | 0.11 | 0.07 |
| 110 | NY | 43.06 | -78.24 | 2700 | Iroquois New York | 8 | 0.02 | 0.03 | 0.04 | 0.11 | 0.13 | 0.14 | 0.14 | 0.12 | 0.09 | 0.07 | 0.04 | 0.02 |
| 111 | NY | 42.7 | -75.5 | 1100 | Sherburne New York | 7 | 0.02 | 0.03 | 0.05 | 0.12 | 0.13 | 0.14 | 0.14 | 0.12 | 0.09 | 0.07 | 0.04 | 0.02 |
| 112 | NY | 40.8 | -72.7 | 100 | Eastport New York | 6 | 0.02 | 0.04 | 0.10 | 0.14 | 0.17 | 0.16 | 0.18 | 0.16 | 0.13 | 0.10 | 0.07 | 0.06 |
| 113 | NY | 42.14 | -74.494 | 1950 | Belleayre Mt. New York | 5 | 0.03 | 0.04 | 0.06 | 0.11 | 0.13 | 0.14 | 0.14 | 0.11 | 0.09 | 0.08 | 0.04 | 0.02 |
| 114 | OH | 41.53 | -83.929 | 612 | Maumee Ohio | 5 | 0.01 | 0.01 | 0.07 | 0.12 | 0.16 | 0.18 | 0.17 | 0.15 | 0.12 | 0.08 | 0.05 | 0.01 |
| 115 | OH | 40 | -82.081 | 641 | Blue Rock Ohio | 3 | 0.01 | 0.02 | 0.08 | 0.13 | 0.14 | 0.16 | 0.16 | 0.13 | 0.12 | 0.08 | 0.05 | 0.01 |
| 116 | OK | 34.77 | -98.746 | 1800 | Wichita Oklahoma | 9 | 0.14 | 0.20 | 0.26 | 0.34 | 0.41 | 0.48 | 0.60 | 0.53 | 0.40 | 0.30 | 0.17 | 0.15 |
| 117 | OR | 46.02 | -123.27 | 1090 | Miller Oregon | 5 | 0.02 | 0.04 | 0.07 | 0.10 | 0.14 | 0.15 | 0.18 | 0.14 | 0.12 | 0.07 | 0.04 | 0.02 |
| 118 | OR | 45.37 | -122.33 | 744 | Eagle Creek Oregon | 6 | 0.02 | 0.03 | 0.07 | 0.09 | 0.13 | 0.14 | 0.18 | 0.16 | 0.13 | 0.06 | 0.03 | 0.02 |
| 119 | OR | 43.72 | -123.63 | 1550 | Devils Graveyard Oregon | 6 | 0.02 | 0.04 | 0.07 | 0.10 | 0.13 | 0.15 | 0.18 | 0.16 | 0.13 | 0.08 | 0.03 | 0.02 |
| 120 | PA | 40.52 | -76.778 | 1720 | Wolf Pond Pennsylvania | 4 | 0.02 | 0.03 | 0.09 | 0.13 | 0.14 | 0.16 | 0.16 | 0.14 | 0.11 | 0.09 | 0.05 | 0.02 |
| 121 | PA | 41.63 | -79.957 | 1800 | Erie Pennsylvania | 3 | 0.02 | 0.03 | 0.10 | 0.15 | 0.15 | 0.17 | 0.17 | 0.14 | 0.14 | 0.10 | 0.05 | 0.02 |
| 122 | RI | 41.82 | -71.533 | 278 | Snake Den Rhode Island | 3 | 0.02 | 0.03 | 0.08 | 0.14 | 0.15 | 0.14 | 0.17 | 0.15 | 0.12 | 0.09 | 0.04 | 0.02 |
| 123 | RI | 41.35 | -71.65 | 40 | Ninigret Rhode Island | 7 | 0.03 | 0.04 | 0.09 | 0.13 | 0.15 | 0.15 | 0.15 | 0.14 | 0.12 | 0.10 | 0.08 | 0.07 |
| 124 | SC | 33.82 | -80.781 | 122 | Congaree South Carolina | 5 | 0.06 | 0.07 | 0.10 | 0.17 | 0.18 | 0.19 | 0.18 | 0.15 | 0.16 | 0.11 | 0.07 | 0.05 |
| 125 | SC | 34.81 | -83.125 | 1600 | Andrew Pickens SC | 8 | 0.05 | 0.08 | 0.11 | 0.15 | 0.15 | 0.16 | 0.16 | 0.14 | 0.13 | 0.10 | 0.08 | 0.05 |
| 126 | SC | 33.21 | -81.591 | 390 | Savriv South Carolina | 7 | 0.06 | 0.08 | 0.12 | 0.16 | 0.16 | 0.17 | 0.16 | 0.14 | 0.14 | 0.11 | 0.07 | 0.06 |
| 127 | SD | 43.75 | -103.63 | 5200 | Custer South Dakota | 3 | 0.04 | 0.03 | 0.08 | 0.14 | 0.16 | 0.19 | 0.22 | 0.18 | 0.17 | 0.11 | 0.06 | 0.03 |
| 128 | SD | 45.8 | -97.451 | 2010 | Marshall Co. SD | 2 | 0.01 | 0.02 | 0.03 | 0.12 | 0.03 | 0.18 | 0.19 | 0.16 | 0.13 | 0.09 | 0.04 | 0.01 |
| 129 | TN | 36.26 | -83.277 | 1163 | Hamblen Co HQ TN | 7 | 0.04 | 0.06 | 0.10 | 0.14 | 0.15 | 0.15 | 0.15 | 0.13 | 0.12 | 0.09 | 0.06 | 0.04 |
| 130 | TN | 35.13 | -85.428 | 1920 | Prentice Cooper SF TN | 7 | 0.05 | 0.07 | 0.11 | 0.15 | 0.16 | 0.17 | 0.16 | 0.14 | 0.13 | 0.10 | 0.07 | 0.05 |
| 131 | TN | 36.07 | -83.489 | 1750 | Jefferson Co Tower TN | 6 | 0.04 | 0.06 | 0.11 | 0.14 | 0.15 | 0.15 | 0.15 | 0.14 | 0.14 | 0.09 | 0.06 | 0.04 |
| 132 | TN | 36.54 | -86.003 | 970 | Lafayette Work Center Tn | 7 | 0.04 | 0.06 | 0.12 | 0.14 | 0.15 | 0.17 | 0.16 | 0.14 | 0.13 | 0.10 | 0.06 | 0.04 |
| 133 | TN | 35.38 | -86.766 | 1150 | Lewisburg Tower Tn | 6 | 0.04 | 0.06 | 0.10 | 0.15 | 0.16 | 0.17 | 0.17 | 0.15 | 0.13 | 0.10 | 0.07 | 0.05 |
| 134 | TN | 36.07 | -87.283 | 706 | Burns Tennessee | 7 | 0.04 | 0.06 | 0.11 | 0.15 | 0.16 | 0.17 | 0.16 | 0.15 | 0.13 | 0.10 | 0.07 | 0.06 |
| 135 | TN | 35.32 | -87.458 | 860 | Meriwether Lewis TN | 7 | 0.04 | 0.06 | 0.10 | 0.14 | 0.15 | 0.16 | 0.16 | 0.15 | 0.13 | 0.10 | 0.06 | 0.04 |
| 136 | TN | 35.92 | -84.997 | 1770 | Crossville Area Office Tn | 6 | 0.04 | 0.06 | 0.11 | 0.14 | 0.14 | 0.15 | 0.16 | 0.14 | 0.12 | 0.09 | 0.06 | 0.04 |

| Station Map ID | State | Lat | Long | Elev | Station Name | ASCE Standardized Reference Evaporation Equation (ETo) (inday) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Years of Data | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| 137 | TN | 35.99 | -89.406 | 208 | Dyersburg Tennessee | 7 | 0.04 | 0.07 | 0.12 | 0.16 | 0.19 | 0.19 | 0.18 | 0.17 | 0.16 | 0.14 | 0.08 | 0.04 |
| 138 | TN | 35.84 | -84.331 | 1240 | Lenoir City Tennessee | 7 | 0.04 | 0.07 | 0.11 | 0.14 | 0.15 | 0.16 | 0.15 | 0.14 | 0.13 | 0.09 | 0.06 | 0.05 |
| 139 | TN | 36.37 | -83.899 | 1657 | Chuck Swan SF TN | 7 | 0.04 | 0.07 | 0.10 | 0.14 | 0.15 | 0.16 | 0.15 | 0.14 | 0.13 | 0.09 | 0.06 | 0.04 |
| 140 | TX | 30.17 | -97.256 | 383 | Bastrop Texas | 7 | 0.07 | 0.10 | 0.14 | 0.18 | 0.21 | 0.24 | 0.24 | 0.23 | 0.19 | 0.14 | 0.09 | 0.07 |
| 141 | TX | 30.11 | -94.931 | 100 | Dayton Texas | 7 | 0.06 | 0.08 | 0.12 | 0.15 | 0.17 | 0.19 | 0.17 | 0.15 | 0.15 | 0.11 | 0.07 | 0.06 |
| 142 | TX | 32.61 | -96.993 | 520 | Cedar Hill SP Texas | 7 | 0.07 | 0.09 | 0.13 | 0.17 | 0.20 | 0.23 | 0.24 | 0.23 | 0.18 | 0.14 | 0.08 | 0.08 |
| 143 | UT | 41.15 | -111.92 | 5100 | Bues Canyon Utah | 12 | 0.02 | 0.05 | 0.09 | 0.14 | 0.18 | 0.21 | 0.24 | 0.21 | 0.18 | 0.12 | 0.07 | 0.02 |
| 144 | VA | 36.68 | -75.933 | 1200 | Back Bay Virginia | 8 | 0.05 | 0.08 | 0.11 | 0.15 | 0.16 | 0.17 | 0.17 | 0.15 | 0.14 | 0.11 | 0.08 | 0.06 |
| 145 | VA | 38.1 | -78.785 | 2080 | Sawmill Ridge Virginia | 4 | 0.04 | 0.06 | 0.09 | 0.13 | 0.13 | 0.14 | 0.13 | 0.12 | 0.12 | 0.08 | 0.06 | 0.04 |
| 146 | VA | 37.01 | -81.179 | 2540 | Stony Fork Virginia | 5 | 0.02 | 0.06 | 0.09 | 0.13 | 0.13 | 0.14 | 0.13 | 0.12 | 0.11 | 0.08 | 0.06 | 0.04 |
| 147 | VA | 37.99 | -79.759 | 2580 | Lime Kiln Virginia | 4 | 0.04 | 0.07 | 0.11 | 0.15 | 0.15 | 0.15 | 0.15 | 0.13 | 0.12 | 0.09 | 0.06 | 0.04 |
| 148 | VA | 37.25 | -77.25 | 50 | James River Virginia | 6 | 0.05 | 0.08 | 0.11 | 0.16 | 0.16 | 0.17 | 0.16 | 0.13 | 0.14 | 0.10 | 0.08 | 0.06 |
| 149 | VT | 44.51 | -73.116 | 340 | Essex Junction Vermont | 6 | 0.02 | 0.02 | 0.04 | 0.11 | 0.14 | 0.16 | 0.17 | 0.14 | 0.11 | 0.07 | 0.04 | 0.02 |
| 150 | VT | 43.33 | -73.033 | 668 | Sweezy Vermont | 9 | 0.02 | 0.03 | 0.04 | 0.11 | 0.13 | 0.14 | 0.14 | 0.12 | 0.10 | 0.08 | 0.04 | 0.02 |
| 151 | VT | 44.54 | -72.529 | 1200 | Elmore Vermont | 6 | 0.02 | 0.02 | 0.04 | 0.09 | 0.13 | 0.13 | 0.14 | 0.12 | 0.09 | 0.07 | 0.03 | 0.01 |
| 152 | WA | 46.27 | -117.5 | 4500 | Alder Ridge Washington | 8 | 0.04 | 0.05 | 0.07 | 0.12 | 0.15 | 0.18 | 0.25 | 0.19 | 0.14 | 0.09 | 0.07 | 0.03 |
| 153 | WA | 47.2 | -121.96 | 771 | Enumclaw Washington | 6 | 0.03 | 0.04 | 0.07 | 0.10 | 0.10 | 0.15 | 0.16 | 0.13 | 0.08 | 0.06 | 0.05 | 0.04 |
| 154 | WA | 34.1 | -118.22 | 920 | Mt. Washington CA | 7 | 0.02 | 0.04 | 0.07 | 0.09 | 0.12 | 0.14 | 0.17 | 0.15 | 0.12 | 0.06 | 0.03 | 0.02 |
| 155 | WA | 47.82 | -122.88 | 62 | Quilcene Washington | 5 | 0.02 | 0.03 | 0.05 | 0.09 | 0.11 | 0.12 | 0.15 | 0.12 | 0.07 | 0.05 | 0.03 | 0.01 |
| 156 | WA | 47.42 | -117.53 | 2230 | Turnbull NWR WA | 8 | 0.01 | 0.03 | 0.06 | 0.10 | 0.14 | 0.17 | 0.20 | 0.17 | 0.12 | 0.08 | 0.03 | 0.01 |
| 157 | WI | 43.57 | -88.609 | 800 | Horicon Wisconsin | 8 | 0.02 | 0.02 | 0.09 | 0.18 | 0.18 | 0.19 | 0.12 | 0.10 | 0.11 | 0.12 | 0.11 | 0.02 |
| 158 | WI | 43.1 | -89.333 | 857 | Wautoma Wisconsin | 5 | 0.01 | 0.02 | 0.05 | 0.12 | 0.16 | 0.17 | 0.18 | 0.14 | 0.10 | 0.07 | 0.04 | 0.01 |
| 159 | WI | 43.1 | -90 | 1260 | Dodgeville Wisconsin | 5 | 0.02 | 0.02 | 0.05 | 0.12 | 0.16 | 0.18 | 0.18 | 0.14 | 0.12 | 0.09 | 0.06 | 0.02 |
| 160 | WV | 38.3 | -82.417 | 735 | Beech Fork West Virginia | 3 | 0.02 | 0.06 | 0.10 | 0.13 | 0.14 | 0.15 | 0.15 | 0.13 | 0.13 | 0.09 | 0.06 | 0.04 |
| 161 | WV | 40.54 | -80.584 | 1013 | Tomlinson Run WV | 6 | 0.01 | 0.01 | 0.08 | 0.12 | 0.15 | 0.15 | 0.15 | 0.14 | 0.12 | 0.09 | 0.07 | 0.04 |
| 162 | WV | 39.11 | -79.426 | 3853 | Davis (Bearden) WV | 3 | 0.03 | 0.02 | 0.09 | 0.13 | 0.13 | 0.13 | 0.13 | 0.11 | 0.10 | 0.08 | 0.06 | 0.04 |
| 163 | WY | 42.71 | -106.35 | 7740 | Casper Mountain WY | 11 | 0.03 | 0.07 | 0.11 | 0.14 | 0.17 | 0.20 | 0.23 | 0.21 | 0.17 | 0.12 | 0.07 | 0.03 |

| Map ID | State | Lat | Long | Elev | Station Name | Years of Data | CIMIS Average Monthly Rates (ETo) (inday) |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| 164 | CA | 36.336222 | -120.112906 | 285 | Five Points | N/A | 0.04 | 0.07 | 0.13 | 0.20 | 0.25 | 0.28 | 0.28 | 0.26 | 0.21 | 0.15 | 0.08 | 0.04 |
| 165 | CA | 35.532556 | -119.281794 | 360 | Shafter/USDA | N/A | 0.04 | 0.07 | 0.12 | 0.19 | 0.24 | 0.27 | 0.27 | 0.24 | 0.19 | 0.13 | 0.07 | 0.04 |
| 166 | CA | 38.535694 | -121.776361 | 60 | Davis | N/A | 0.03 | 0.06 | 0.11 | 0.18 | 0.22 | 0.27 | 0.27 | 0.24 | 0.19 | 0.14 | 0.07 | 0.04 |
| 167 | CA | 36.851222 | -120.590922 | 185 | Firebaugh | N/A | 0.03 | 0.06 | 0.12 | 0.19 | 0.24 | 0.27 | 0.27 | 0.23 | 0.18 | 0.13 | 0.07 | 0.03 |
| 168 | CA | 40.044053 | -122.165514 | 250 | Gerber | N/A | 0.03 | 0.06 | 0.11 | 0.17 | 0.21 | 0.26 | 0.28 | 0.24 | 0.19 | 0.13 | 0.06 | 0.04 |
| 169 | CA | 39.608639 | -121.824431 | 130 | Durham | N/A | 0.03 | 0.06 | 0.10 | 0.17 | 0.21 | 0.25 | 0.25 | 0.22 | 0.18 | 0.11 | 0.06 | 0.03 |
| 170 | CA | 38.753136 | -120.733603 | 2780 | Camino | N/A | 0.05 | 0.07 | 0.10 | 0.15 | 0.19 | 0.25 | 0.29 | 0.26 | 0.21 | 0.14 | 0.06 | 0.04 |
| 171 | CA | 36.157972 | -119.851425 | 193 | Stratford | N/A | 0.03 | 0.07 | 0.13 | 0.20 | 0.25 | 0.29 | 0.28 | 0.25 | 0.20 | 0.13 | 0.07 | 0.03 |
| 172 | CA | 36.768167 | -121.773636 | 9 | Castroville | N/A | 0.05 | 0.06 | 0.10 | 0.14 | 0.15 | 0.16 | 0.13 | 0.12 | 0.10 | 0.08 | 0.05 | 0.04 |
| 173 | CA | 35.867750 | -119.894900 | 340 | Kettleman | N/A | 0.03 | 0.07 | 0.13 | 0.20 | 0.24 | 0.28 | 0.29 | 0.26 | 0.20 | 0.14 | 0.07 | 0.04 |
| 174 | CA | 38.870600 | -121.546075 | 32 | Nicolaus | N/A | 0.03 | 0.06 | 0.10 | 0.16 | 0.20 | 0.25 | 0.26 | 0.22 | 0.17 | 0.11 | 0.05 | 0.03 |
| 175 | CA | 39.226861 | -122.024800 | 55 | Colusa | N/A | 0.03 | 0.06 | 0.11 | 0.17 | 0.21 | 0.25 | 0.27 | 0.23 | 0.18 | 0.12 | 0.06 | 0.03 |
| 176 | CA | 37.358514 | -118.405528 | 4170 | Bishop | N/A | 0.06 | 0.09 | 0.15 | 0.20 | 0.23 | 0.25 | 0.26 | 0.24 | 0.18 | 0.13 | 0.08 | 0.06 |
| 177 | CA | 36.597444 | -119.504036 | 337 | Parlier | N/A | 0.03 | 0.07 | 0.12 | 0.17 | 0.22 | 0.25 | 0.26 | 0.22 | 0.17 | 0.11 | 0.06 | 0.03 |
| 178 | CA | 33.042986 | -115.415847 | -110 | Calipatria | N/A | 0.08 | 0.11 | 0.17 | 0.23 | 0.28 | 0.31 | 0.30 | 0.28 | 0.23 | 0.17 | 0.10 | 0.07 |
| 179 | CA | 41.063767 | -121.456019 | 3310 | McArthur | N/A | 0.02 | 0.05 | 0.09 | 0.14 | 0.18 | 0.23 | 0.27 | 0.23 | 0.17 | 0.10 | 0.04 | 0.02 |
| 180 | CA | 33.964942 | -117.336983 | 1020 | Riverside | N/A | 0.08 | 0.10 | 0.13 | 0.18 | 0.19 | 0.22 | 0.23 | 0.22 | 0.18 | 0.13 | 0.10 | 0.08 |
| 181 | CA | 35.305442 | -120.661783 | 330 | San Luis Obispo | N/A | 0.07 | 0.09 | 0.12 | 0.17 | 0.18 | 0.21 | 0.21 | 0.20 | 0.16 | 0.13 | 0.10 | 0.07 |
| 182 | CA | 35.649861 | -119.959300 | 705 | Blackwell's Corner | N/A | 0.04 | 0.07 | 0.12 | 0.18 | 0.23 | 0.26 | 0.27 | 0.25 | 0.19 | 0.13 | 0.06 | 0.04 |
| 183 | CA | 37.096694 | -120.753897 | 95 | Los Banos | N/A | 0.03 | 0.06 | 0.11 | 0.18 | 0.24 | 0.27 | 0.28 | 0.24 | 0.18 | 0.12 | 0.06 | 0.03 |
| 184 | CA | 40.289953 | -120.434900 | 4005 | Buntingville | N/A | 0.03 | 0.06 | 0.11 | 0.16 | 0.20 | 0.24 | 0.27 | 0.24 | 0.18 | 0.11 | 0.05 | 0.03 |
| 185 | CA | 39.691822 | -122.153506 | 198 | Orland | N/A | 0.03 | 0.06 | 0.11 | 0.17 | 0.21 | 0.25 | 0.26 | 0.22 | 0.18 | 0.12 | 0.06 | 0.04 |
| 186 | CA | 33.486650 | -117.228269 | 1420 | Temecula | N/A | 0.09 | 0.10 | 0.12 | 0.16 | 0.18 | 0.21 | 0.22 | 0.22 | 0.18 | 0.13 | 0.11 | 0.09 |
| 187 | CA | 34.583144 | -120.079239 | 490 | Santa Ynez | N/A | 0.05 | 0.08 | 0.11 | 0.17 | 0.19 | 0.21 | 0.21 | 0.19 | 0.15 | 0.12 | 0.07 | 0.05 |
| 188 | CA | 32.759575 | -115.732067 | 40 | Seeley | N/A | 0.09 | 0.13 | 0.19 | 0.26 | 0.31 | 0.34 | 0.30 | 0.27 | 0.23 | 0.18 | 0.11 | 0.07 |
| 189 | CA | 37.834822 | -121.223194 | 33 | Manteca | N/A | 0.03 | 0.06 | 0.11 | 0.17 | 0.21 | 0.25 | 0.26 | 0.23 | 0.17 | 0.11 | 0.05 | 0.03 |
| 190 | CA | 37.645222 | -121.187764 | 35 | Modesto | N/A | 0.03 | 0.06 | 0.11 | 0.17 | 0.22 | 0.25 | 0.25 | 0.22 | 0.16 | 0.11 | 0.06 | 0.03 |
| 191 | CA | 33.688450 | -117.721178 | 410 | Irvine | N/A | 0.07 | 0.09 | 0.12 | 0.16 | 0.17 | 0.20 | 0.20 | 0.20 | 0.15 | 0.12 | 0.09 | 0.07 |
| 192 | CA | 38.428475 | -122.410206 | 190 | Oakville | N/A | 0.03 | 0.05 | 0.09 | 0.16 | 0.19 | 0.23 | 0.23 | 0.21 | 0.16 | 0.11 | 0.05 | 0.04 |
| 193 | CA | 34.056589 | -117.813069 | 730 | Pomona | N/A | 0.06 | 0.07 | 0.11 | 0.15 | 0.16 | 0.19 | 0.21 | 0.21 | 0.16 | 0.11 | 0.08 | 0.06 |
| 194 | CA | 36.820833 | -119.742308 | 339 | Fresno State | N/A | 0.03 | 0.06 | 0.10 | 0.17 | 0.22 | 0.27 | 0.28 | 0.25 | 0.18 | 0.12 | 0.06 | 0.03 |
| 195 | CA | 38.403550 | -122.799931 | 80 | Santa Rosa | N/A | 0.03 | 0.05 | 0.09 | 0.14 | 0.17 | 0.20 | 0.20 | 0.19 | 0.14 | 0.10 | 0.05 | 0.03 |
| 196 | CA | 39.252561 | -121.315669 | 940 | Browns Valley | N/A | 0.03 | 0.06 | 0.10 | 0.16 | 0.20 | 0.25 | 0.27 | 0.25 | 0.19 | 0.13 | 0.07 | 0.03 |
| 197 | CA | 39.006747 | -123.080122 | 1160 | Hopland | N/A | 0.03 | 0.06 | 0.10 | 0.15 | 0.19 | 0.23 | 0.26 | 0.23 | 0.17 | 0.11 | 0.05 | 0.03 |
| 198 | CA | 36.360500 | -119.059353 | 480 | Lindcove | N/A | 0.03 | 0.06 | 0.10 | 0.16 | 0.21 | 0.25 | 0.26 | 0.23 | 0.17 | 0.11 | 0.05 | 0.03 |
| 199 | CA | 32.806183 | -115.446258 | -50 | Meloland | N/A | 0.08 | 0.12 | 0.18 | 0.25 | 0.29 | 0.31 | 0.29 | 0.27 | 0.23 | 0.17 | 0.10 | 0.07 |

| Station Map ID | State | Lat | Long | Elev | Station Name | CIMIS Average Monthly Rates (ETo) (inday) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Years of Data | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| 200 | CA | 34.942525 | -119.673800 | 2290 | Cuyama | N/A | 0.07 | 0.09 | 0.12 | 0.18 | 0.22 | 0.26 | 0.27 | 0.25 | 0.20 | 0.15 | 0.09 | 0.06 |
| 201 | CA | 36.609444 | -121.529300 | 120 | Salinas South | N/A | 0.04 | 0.06 | 0.11 | 0.16 | 0.18 | 0.21 | 0.20 | 0.19 | 0.14 | 0.11 | 0.06 | 0.04 |
| 202 | CA | 41.438214 | -120.480308 | 4405 | Alturas | N/A | 0.03 | 0.05 | 0.09 | 0.12 | 0.16 | 0.21 | 0.24 | 0.21 | 0.15 | 0.09 | 0.04 | 0.02 |
| 203 | CA | 41.958869 | -121.472372 | 4035 | Tule Lake | N/A | 0.02 | 0.05 | 0.09 | 0.13 | 0.17 | 0.21 | 0.23 | 0.21 | 0.16 | 0.09 | 0.03 | 0.02 |
| 204 | CA | 37.231861 | -120.880819 | 75 | Kesterson | N/A | 0.03 | 0.06 | 0.11 | 0.18 | 0.24 | 0.27 | 0.28 | 0.24 | 0.18 | 0.12 | 0.06 | 0.03 |
| 205 | CA | 34.471333 | -119.869294 | 640 | Goleta Foothills | N/A | 0.07 | 0.09 | 0.12 | 0.18 | 0.17 | 0.19 | 0.18 | 0.19 | 0.15 | 0.13 | 0.09 | 0.08 |
| 206 | CA | 34.044311 | -118.476886 | 340 | Santa Monica | N/A | 0.06 | 0.08 | 0.11 | 0.15 | 0.15 | 0.17 | 0.17 | 0.17 | 0.13 | 0.11 | 0.08 | 0.07 |
| 207 | CA | 38.526336 | -122.829297 | 85 | Windsor | N/A | 0.03 | 0.06 | 0.10 | 0.15 | 0.18 | 0.22 | 0.21 | 0.19 | 0.15 | 0.10 | 0.05 | 0.03 |
| 208 | CA | 36.997444 | -121.996758 | 300 | De Laveaga | N/A | 0.04 | 0.07 | 0.11 | 0.16 | 0.16 | 0.18 | 0.16 | 0.16 | 0.12 | 0.10 | 0.05 | 0.04 |
| 209 | CA | 36.634028 | -120.381811 | 191 | Westlands | N/A | 0.03 | 0.06 | 0.12 | 0.21 | 0.26 | 0.29 | 0.28 | 0.25 | 0.20 | 0.14 | 0.07 | 0.03 |
| 210 | CA | 38.982581 | -123.089275 | 525 | Sanel Valley | N/A | 0.03 | 0.06 | 0.10 | 0.15 | 0.19 | 0.23 | 0.26 | 0.23 | 0.17 | 0.11 | 0.05 | 0.03 |
| 211 | CA | 34.437353 | -119.737419 | 250 | Santa Barbara | N/A | 0.05 | 0.08 | 0.11 | 0.16 | 0.16 | 0.17 | 0.17 | 0.17 | 0.13 | 0.11 | 0.07 | 0.06 |
| 212 | CA | 38.219503 | -122.354964 | 5 | Carneros | N/A | 0.03 | 0.05 | 0.10 | 0.15 | 0.18 | 0.22 | 0.22 | 0.20 | 0.16 | 0.11 | 0.05 | 0.03 |
| 213 | CA | 36.943964 | -121.763942 | 110 | Green Valley Rd | N/A | 0.04 | 0.06 | 0.10 | 0.15 | 0.15 | 0.18 | 0.17 | 0.16 | 0.12 | 0.10 | 0.05 | 0.04 |
| 214 | CA | 36.121083 | -121.084572 | 540 | King City - Oasis Rd | N/A | 0.05 | 0.07 | 0.12 | 0.18 | 0.21 | 0.24 | 0.24 | 0.22 | 0.17 | 0.13 | 0.07 | 0.05 |
| 215 | CA | 36.347306 | -121.291350 | 235 | Arroyo Seco | N/A | 0.05 | 0.07 | 0.12 | 0.18 | 0.20 | 0.24 | 0.23 | 0.22 | 0.17 | 0.13 | 0.07 | 0.05 |
| 216 | CA | 36.716806 | -121.691889 | 61 | Salinas North | N/A | 0.04 | 0.06 | 0.09 | 0.14 | 0.15 | 0.17 | 0.14 | 0.14 | 0.11 | 0.09 | 0.05 | 0.04 |
| 217 | CA | 34.475914 | -117.263514 | 2890 | Victorville | N/A | 0.07 | 0.09 | 0.15 | 0.21 | 0.24 | 0.30 | 0.32 | 0.29 | 0.22 | 0.15 | 0.09 | 0.07 |
| 218 | CA | 33.841292 | -116.478731 | 392 | Cathedral City | N/A | 0.05 | 0.08 | 0.12 | 0.17 | 0.22 | 0.26 | 0.28 | 0.25 | 0.19 | 0.13 | 0.07 | 0.05 |
| 219 | CA | 38.415564 | -121.786911 | 37 | Dixon | N/A | 0.02 | 0.05 | 0.10 | 0.17 | 0.20 | 0.25 | 0.27 | 0.23 | 0.18 | 0.14 | 0.05 | 0.03 |
| 220 | CA | 38.233972 | -122.116994 | 35 | Suisun Valley | N/A | 0.02 | 0.05 | 0.10 | 0.16 | 0.19 | 0.23 | 0.25 | 0.22 | 0.18 | 0.12 | 0.05 | 0.03 |
| 221 | CA | 36.890056 | -120.731408 | 183 | Panoche | N/A | 0.04 | 0.07 | 0.12 | 0.20 | 0.24 | 0.28 | 0.27 | 0.23 | 0.18 | 0.13 | 0.07 | 0.03 |
| 222 | CA | 35.205583 | -118.778414 | 500 | Arvin/Edison | N/A | 0.04 | 0.08 | 0.12 | 0.19 | 0.24 | 0.27 | 0.28 | 0.25 | 0.19 | 0.13 | 0.07 | 0.04 |
| 223 | CA | 36.854833 | -121.362753 | 340 | San Benito | N/A | 0.04 | 0.06 | 0.10 | 0.15 | 0.18 | 0.21 | 0.22 | 0.21 | 0.16 | 0.12 | 0.06 | 0.04 |
| 224 | CA | 33.327703 | -115.944842 | -225 | Salton Sea West | N/A | 0.08 | 0.11 | 0.17 | 0.23 | 0.28 | 0.31 | 0.30 | 0.28 | 0.23 | 0.17 | 0.10 | 0.07 |
| 225 | CA | 33.220186 | -115.580117 | -226 | Salton East | N/A | 0.08 | 0.11 | 0.17 | 0.23 | 0.28 | 0.31 | 0.30 | 0.28 | 0.23 | 0.17 | 0.10 | 0.07 |
| 226 | CA | 36.902778 | -121.741931 | 65 | Pajaro | N/A | 0.06 | 0.08 | 0.12 | 0.16 | 0.17 | 0.19 | 0.18 | 0.17 | 0.14 | 0.11 | 0.08 | 0.06 |
| 227 | CA | 38.649964 | -121.218872 | 265 | Fair Oaks | N/A | 0.05 | 0.08 | 0.12 | 0.17 | 0.22 | 0.26 | 0.28 | 0.25 | 0.19 | 0.13 | 0.07 | 0.05 |
| 228 | CA | 34.196531 | -118.230203 | 1111 | Glendale | N/A | 0.07 | 0.09 | 0.12 | 0.16 | 0.17 | 0.20 | 0.22 | 0.21 | 0.17 | 0.13 | 0.09 | 0.07 |
| 229 | CA | 34.884267 | -116.979861 | 2040 | Barstow | N/A | 0.07 | 0.11 | 0.17 | 0.22 | 0.26 | 0.31 | 0.30 | 0.26 | 0.21 | 0.15 | 0.09 | 0.07 |
| 230 | CA | 33.662869 | -114.558108 | 275 | Blythe NE | N/A | 0.07 | 0.11 | 0.16 | 0.22 | 0.28 | 0.32 | 0.33 | 0.29 | 0.23 | 0.15 | 0.10 | 0.07 |
| 231 | CA | 33.523694 | -116.155750 | 12 | Oasis | N/A | 0.08 | 0.12 | 0.17 | 0.23 | 0.28 | 0.32 | 0.31 | 0.28 | 0.23 | 0.16 | 0.10 | 0.07 |
| 232 | CA | 33.558017 | -117.031661 | 1536 | Temecula East II | N/A | 0.06 | 0.08 | 0.11 | 0.16 | 0.18 | 0.21 | 0.21 | 0.20 | 0.16 | 0.12 | 0.08 | 0.06 |

| Station Map ID | State | Lat | Long | Elev | Station Name | CIMIS Average Monthly Rates (ETo) (inday) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Years of Data | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| 233 | CA | 35.603111 | -119.212586 | 415 | Famoso | N/A | 0.05 | 0.08 | 0.12 | 0.17 | 0.22 | 0.26 | 0.28 | 0.25 | 0.19 | 0.13 | 0.07 | 0.05 |
| 234 | CA | 38.501258 | -121.978528 | 136 | Winters | N/A | 0.03 | 0.06 | 0.11 | 0.17 | 0.21 | 0.25 | 0.26 | 0.22 | 0.17 | 0.11 | 0.05 | 0.03 |
| 235 | CA | 38.116125 | -121.659214 | -1 | Twitchell Islan | N/A | 0.05 | 0.08 | 0.12 | 0.17 | 0.22 | 0.26 | 0.28 | 0.25 | 0.19 | 0.13 | 0.07 | 0.05 |
| 236 | CA | 33.536894 | -115.992803 | -180 | Mecca | N/A | 0.05 | 0.09 | 0.13 | 0.19 | 0.25 | 0.29 | 0.30 | 0.27 | 0.21 | 0.14 | 0.08 | 0.05 |
| 237 | CA | 36.721083 | -119.389028 | 450 | Orange Cove | N/A | 0.03 | 0.06 | 0.11 | 0.16 | 0.22 | 0.26 | 0.28 | 0.25 | 0.19 | 0.11 | 0.06 | 0.02 |
| 238 | CA | 36.822861 | -121.467869 | 245 | San Juan Valley | N/A | 0.06 | 0.08 | 0.12 | 0.16 | 0.17 | 0.19 | 0.18 | 0.17 | 0.14 | 0.11 | 0.08 | 0.06 |
| 239 | CA | 38.266428 | -122.616464 | 97 | Petaluma | N/A | 0.03 | 0.06 | 0.09 | 0.14 | 0.18 | 0.21 | 0.21 | 0.19 | 0.15 | 0.10 | 0.05 | 0.03 |
| 240 | CA | 37.016528 | -120.186394 | 230 | Madera | N/A | 0.05 | 0.09 | 0.13 | 0.19 | 0.25 | 0.29 | 0.31 | 0.28 | 0.21 | 0.13 | 0.07 | 0.04 |
| 241 | CA | 35.505833 | -119.691144 | 410 | Belridge | N/A | 0.05 | 0.08 | 0.12 | 0.17 | 0.22 | 0.26 | 0.28 | 0.25 | 0.19 | 0.13 | 0.07 | 0.05 |
| 242 | CA | 32.628208 | -116.939281 | 580 | Otay Lake | N/A | 0.04 | 0.07 | 0.11 | 0.16 | 0.19 | 0.23 | 0.25 | 0.22 | 0.17 | 0.11 | 0.07 | 0.04 |
| 243 | CA | 37.314139 | -120.386700 | 200 | Merced | N/A | 0.04 | 0.07 | 0.11 | 0.17 | 0.22 | 0.26 | 0.26 | 0.23 | 0.18 | 0.12 | 0.06 | 0.03 |
| 244 | CA | 37.780653 | -122.180150 | 145 | Oakland Foothil | N/A | 0.04 | 0.06 | 0.10 | 0.15 | 0.18 | 0.21 | 0.22 | 0.20 | 0.15 | 0.11 | 0.05 | 0.04 |
| 245 | CA | 32.885847 | -117.143142 | 445 | Miramar | N/A | 0.06 | 0.08 | 0.11 | 0.15 | 0.17 | 0.19 | 0.19 | 0.18 | 0.15 | 0.11 | 0.08 | 0.06 |
| 246 | CA | 33.532222 | -114.633889 | 251 | Ripley | N/A | 0.08 | 0.12 | 0.17 | 0.23 | 0.28 | 0.32 | 0.31 | 0.28 | 0.23 | 0.16 | 0.10 | 0.07 |
| 247 | CA | 34.219386 | -118.992439 | 130 | Camarillo | N/A | 0.06 | 0.08 | 0.11 | 0.15 | 0.17 | 0.19 | 0.19 | 0.18 | 0.15 | 0.11 | 0.08 | 0.06 |
| 248 | CA | 33.081050 | -116.975697 | 390 | Escondido SPV | N/A | 0.09 | 0.10 | 0.12 | 0.18 | 0.20 | 0.23 | 0.23 | 0.22 | 0.19 | 0.13 | 0.11 | 0.08 |
| 249 | CA | 38.599158 | -121.540406 | 40 | Bryte | N/A | 0.03 | 0.06 | 0.11 | 0.17 | 0.21 | 0.25 | 0.26 | 0.22 | 0.17 | 0.11 | 0.05 | 0.03 |
| 250 | CA | 34.233639 | -119.196922 | 48 | Oxnard | N/A | 0.06 | 0.08 | 0.11 | 0.15 | 0.17 | 0.19 | 0.19 | 0.18 | 0.15 | 0.11 | 0.08 | 0.06 |
| 251 | CA | 37.995947 | -122.466308 | 5 | Point San Pedro | N/A | 0.04 | 0.06 | 0.10 | 0.14 | 0.17 | 0.21 | 0.21 | 0.19 | 0.14 | 0.09 | 0.04 | 0.03 |
| 252 | CA | 38.419439 | -122.658719 | 270 | Bennett Valley | N/A | 0.03 | 0.05 | 0.09 | 0.14 | 0.17 | 0.20 | 0.20 | 0.19 | 0.14 | 0.10 | 0.05 | 0.03 |
| 253 | CA | 34.146372 | -117.985797 | 595 | Monrovia | N/A | 0.05 | 0.08 | 0.12 | 0.17 | 0.22 | 0.26 | 0.28 | 0.25 | 0.19 | 0.13 | 0.07 | 0.05 |
| 254 | CA | 35.335261 | -120.735881 | 285 | San Luis Obispo West | N/A | 0.07 | 0.09 | 0.12 | 0.17 | 0.18 | 0.21 | 0.21 | 0.20 | 0.16 | 0.13 | 0.10 | 0.07 |
| 255 | CA | 37.438944 | -121.138511 | 183 | Patterson | N/A | 0.05 | 0.08 | 0.12 | 0.17 | 0.22 | 0.26 | 0.28 | 0.25 | 0.19 | 0.13 | 0.07 | 0.05 |
| 256 | CA | 35.472556 | -120.648142 | 885 | Atascadero | N/A | 0.07 | 0.09 | 0.12 | 0.17 | 0.18 | 0.21 | 0.21 | 0.20 | 0.16 | 0.13 | 0.10 | 0.07 |
| 257 | CA | 34.841878 | -120.212736 | 536 | Sisquoc | N/A | 0.06 | 0.09 | 0.12 | 0.17 | 0.19 | 0.20 | 0.19 | 0.18 | 0.15 | 0.11 | 0.08 | 0.06 |
| 258 | CA | 38.129933 | -121.386594 | 25 | Lodi West | N/A | 0.03 | 0.06 | 0.11 | 0.17 | 0.21 | 0.25 | 0.25 | 0.22 | 0.17 | 0.11 | 0.05 | 0.02 |
| 259 | CA | 37.725881 | -121.475517 | 82 | Tracy | N/A | 0.03 | 0.06 | 0.11 | 0.18 | 0.22 | 0.26 | 0.27 | 0.23 | 0.18 | 0.12 | 0.06 | 0.03 |
| 260 | CA | 36.082056 | -119.093422 | 400 | Porterville | N/A | 0.03 | 0.07 | 0.12 | 0.18 | 0.23 | 0.27 | 0.27 | 0.24 | 0.19 | 0.13 | 0.06 | 0.03 |
| 261 | CA | 38.015372 | -122.020278 | 35 | Concord | N/A | 0.03 | 0.06 | 0.11 | 0.18 | 0.22 | 0.26 | 0.27 | 0.23 | 0.18 | 0.12 | 0.06 | 0.03 |
| 262 | CA | 37.598758 | -122.053233 | 16 | Union City | N/A | 0.05 | 0.07 | 0.11 | 0.16 | 0.17 | 0.21 | 0.22 | 0.19 | 0.15 | 0.11 | 0.06 | 0.05 |
| 263 | CA | 32.901867 | -117.250458 | 335 | Torrey Pines | N/A | 0.06 | 0.08 | 0.11 | 0.15 | 0.17 | 0.19 | 0.19 | 0.18 | 0.15 | 0.11 | 0.08 | 0.06 |
| 264 | CA | 33.798697 | -118.094792 | 17 | Long Beach | N/A | 0.05 | 0.08 | 0.12 | 0.16 | 0.17 | 0.19 | 0.19 | 0.19 | 0.15 | 0.10 | 0.07 | 0.05 |
| 265 | CA | 33.383697 | -114.719211 | 230 | Palo Verde II | N/A | 0.08 | 0.12 | 0.18 | 0.24 | 0.28 | 0.31 | 0.31 | 0.28 | 0.22 | 0.15 | 0.10 | 0.07 |
| 266 | CA | 37.837614 | -122.140739 | 510 | Moraga | N/A | 0.03 | 0.05 | 0.09 | 0.15 | 0.18 | 0.22 | 0.24 | 0.20 | 0.16 | 0.11 | 0.05 | 0.03 |
| 267 | CA | 33.663325 | -117.093383 | 1626 | Winchester | N/A | 0.09 | 0.10 | 0.12 | 0.18 | 0.20 | 0.23 | 0.23 | 0.22 | 0.19 | 0.13 | 0.11 | 0.08 |

| Station Map ID | State | Lat | Long | Elev | Station Name | CIMIS Average Monthly Rates (ETo) (inday) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Years of Data | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| 268 | CA | 33.078611 | -115.660556 | -200 | Westmorland North | N/A | 0.08 | 0.12 | 0.17 | 0.23 | 0.28 | 0.32 | 0.31 | 0.28 | 0.23 | 0.16 | 0.10 | 0.07 |
| 269 | CA | 35.833000 | -119.255956 | 300 | Delano | N/A | 0.05 | 0.08 | 0.12 | 0.17 | 0.22 | 0.26 | 0.28 | 0.25 | 0.19 | 0.13 | 0.07 | 0.05 |
| 270 | CA | 32.729481 | -117.139481 | 3684 | Owens Lake North | N/A | 0.07 | 0.09 | 0.15 | 0.21 | 0.24 | 0.30 | 0.32 | 0.29 | 0.22 | 0.15 | 0.09 | 0.07 |
| 271 | CA | 32.729578 | -117.139342 | 377 | San Diego II | N/A | 0.07 | 0.09 | 0.11 | 0.15 | 0.16 | 0.18 | 0.18 | 0.18 | 0.14 | 0.11 | 0.08 | 0.07 |
| 272 | CA | 32.492658 | -114.826164 | 48 | UC-San Luis | N/A | 0.08 | 0.12 | 0.18 | 0.25 | 0.29 | 0.31 | 0.29 | 0.27 | 0.23 | 0.17 | 0.10 | 0.07 |
| 273 | CA | 38.090933 | -122.526703 | 1 | Black Point | N/A | 0.04 | 0.06 | 0.10 | 0.14 | 0.17 | 0.21 | 0.21 | 0.19 | 0.14 | 0.09 | 0.04 | 0.03 |
| 274 | CA | 36.358628 | -117.943869 | 3682 | Owens Lake South | N/A | 0.07 | 0.09 | 0.15 | 0.21 | 0.24 | 0.30 | 0.32 | 0.29 | 0.22 | 0.15 | 0.09 | 0.07 |
| 275 | CA | 36.382028 | -120.229850 | 270 | Five Points South We | N/A | 0.04 | 0.07 | 0.13 | 0.20 | 0.25 | 0.28 | 0.28 | 0.26 | 0.21 | 0.15 | 0.08 | 0.04 |
| 276 | CA | 37.663969 | -121.885033 | 335 | Pleasanton | N/A | 0.03 | 0.05 | 0.09 | 0.15 | 0.18 | 0.22 | 0.24 | 0.20 | 0.16 | 0.11 | 0.05 | 0.03 |
| 277 | CA | 34.255142 | -117.218139 | 5148 | Lake Arrowhead | N/A | 0.06 | 0.09 | 0.15 | 0.20 | 0.23 | 0.25 | 0.26 | 0.24 | 0.18 | 0.13 | 0.08 | 0.06 |
| 278 | CA | 37.727194 | -120.850861 | 165 | Oakdale | N/A | 0.03 | 0.06 | 0.11 | 0.17 | 0.22 | 0.25 | 0.25 | 0.22 | 0.16 | 0.11 | 0.06 | 0.03 |
| 279 | CA | 38.887603 | -121.102908 | 935 | Auburn | N/A | 0.05 | 0.07 | 0.10 | 0.15 | 0.19 | 0.25 | 0.29 | 0.26 | 0.21 | 0.14 | 0.06 | 0.04 |
| 280 | CA | 38.691786 | -122.013808 | 174 | Esparto | N/A | 0.03 | 0.06 | 0.11 | 0.18 | 0.22 | 0.27 | 0.27 | 0.24 | 0.19 | 0.14 | 0.07 | 0.04 |
| 281 | CA | 34.614981 | -118.032492 | 2550 | Palmdale | N/A | 0.07 | 0.09 | 0.15 | 0.21 | 0.24 | 0.30 | 0.32 | 0.29 | 0.22 | 0.15 | 0.09 | 0.07 |
| 282 | CA | 34.324639 | -119.104875 | 218 | Santa Paula | N/A | 0.06 | 0.08 | 0.11 | 0.15 | 0.17 | 0.19 | 0.19 | 0.18 | 0.15 | 0.11 | 0.08 | 0.06 |
| 283 | CA | 34.237419 | -116.865706 | 6910 | Big Bear Lake | N/A | 0.06 | 0.09 | 0.15 | 0.20 | 0.23 | 0.25 | 0.26 | 0.24 | 0.18 | 0.13 | 0.08 | 0.06 |
| 284 | CA | 33.748586 | -116.252903 | 40 | Indio II | N/A | 0.08 | 0.12 | 0.17 | 0.23 | 0.28 | 0.32 | 0.31 | 0.28 | 0.23 | 0.16 | 0.10 | 0.07 |
| 285 | CA | 32.674353 | -115.044381 | 120 | UC-Andrade | N/A | 0.08 | 0.12 | 0.18 | 0.25 | 0.29 | 0.31 | 0.29 | 0.27 | 0.23 | 0.17 | 0.10 | 0.07 |
| 286 | CA | 35.028281 | -120.560033 | 255 | Nipomo | N/A | 0.07 | 0.09 | 0.12 | 0.17 | 0.18 | 0.21 | 0.21 | 0.20 | 0.16 | 0.13 | 0.10 | 0.07 |
| 287 | CA | 35.862583 | -119.503569 | 210 | Alpaugh | N/A | 0.05 | 0.08 | 0.12 | 0.17 | 0.22 | 0.26 | 0.28 | 0.25 | 0.19 | 0.13 | 0.07 | 0.05 |
| 288 | CA | 34.426361 | -118.517583 | 1410 | Santa Clarita | N/A | 0.09 | 0.10 | 0.13 | 0.19 | 0.19 | 0.23 | 0.25 | 0.25 | 0.19 | 0.17 | 0.12 | 0.10 |
| 289 | CA | 33.268447 | -116.365050 | 578 | Borrego Springs | N/A | 0.09 | 0.13 | 0.19 | 0.26 | 0.31 | 0.34 | 0.30 | 0.27 | 0.23 | 0.18 | 0.11 | 0.07 |
| 290 | CA | 37.545869 | -120.754531 | 150 | Denair II | N/A | 0.03 | 0.06 | 0.11 | 0.17 | 0.22 | 0.25 | 0.25 | 0.22 | 0.16 | 0.11 | 0.06 | 0.03 |
| 291 | CA | 33.678186 | -116.272989 | 36 | La Quinta II | N/A | 0.08 | 0.12 | 0.17 | 0.23 | 0.28 | 0.32 | 0.31 | 0.28 | 0.23 | 0.16 | 0.10 | 0.07 |
| 292 | CA | 36.913083 | -121.823653 | 240 | Watsonville West II | N/A | 0.06 | 0.08 | 0.12 | 0.16 | 0.17 | 0.19 | 0.18 | 0.17 | 0.14 | 0.11 | 0.08 | 0.06 |
| 293 | CA | 36.540889 | -121.881958 | 75 | Carmel | N/A | 0.04 | 0.06 | 0.09 | 0.14 | 0.15 | 0.17 | 0.14 | 0.14 | 0.11 | 0.09 | 0.05 | 0.04 |
| 294 | CA | 37.138889 | -121.575000 | 185 | Gilroy | N/A | 0.04 | 0.06 | 0.11 | 0.16 | 0.20 | 0.23 | 0.24 | 0.21 | 0.17 | 0.11 | 0.06 | 0.03 |
| 295 | CA | 38.278056 | -121.741111 | 7 | Hastings Tract East | N/A | 0.05 | 0.08 | 0.12 | 0.17 | 0.22 | 0.26 | 0.28 | 0.25 | 0.19 | 0.13 | 0.07 | 0.05 |
| 296 | CA | 33.608611 | -116.171667 | -32 | Thermal South | N/A | 0.08 | 0.12 | 0.17 | 0.23 | 0.28 | 0.32 | 0.31 | 0.28 | 0.23 | 0.16 | 0.10 | 0.07 |
| 297 | CA | 38.636111 | -120.793056 | 2050 | Diamond Springs | N/A | 0.05 | 0.07 | 0.10 | 0.15 | 0.19 | 0.25 | 0.29 | 0.26 | 0.21 | 0.14 | 0.06 | 0.04 |
| 298 | CA | 34.405556 | -119.715000 | 440 | Santa Barbara II | N/A | 0.05 | 0.08 | 0.11 | 0.16 | 0.16 | 0.17 | 0.17 | 0.17 | 0.13 | 0.11 | 0.07 | 0.06 |
| 299 | CA | 34.672222 | -120.513056 | 55 | Lompoc | N/A | 0.06 | 0.09 | 0.12 | 0.17 | 0.19 | 0.20 | 0.19 | 0.18 | 0.15 | 0.11 | 0.08 | 0.06 |

| Station Map ID | State | Lat | Long | Elev | Station Name | CIMIS Average Monthly Rates (ETo) (inday) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Years of Data | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| 300 | CA | 34.913472 | -120.464778 | 215 | Santa Maria II | N/A | 0.06 | 0.09 | 0.12 | 0.17 | 0.19 | 0.20 | 0.19 | 0.18 | 0.15 | 0.11 | 0.08 | 0.06 |